## P95_Substations
SubstationID | AverageLoadMW | P95LoadMW | PeakLoadMW | DataCoveragePct | LoadedFeederCount | ExpectedFeederCount | CapacityResolutionStatus | AvailableCapacityMW
hvmv_2_22 | 0.47306 | 0.56262 | 0.69532 | 99.9431 | 4 | 4 | Unresolved
hvmv_1_22 | 0.59032 | 0.70412 | 0.87823 | 99.9431 | 4 | 4 | Unresolved
hvmv_5_22 | 2.5068 | 3.4495 | 4.4648 | 99.9431 | 5 | 5 | Unresolved
hvmv_10_21 | 3.0835 | 4.6008 | 6.1336 | 99.9431 | 3 | 3 | Unresolved
hvmv_12_21 | 4.926 | 7.0139 | 9.0553 | 99.9431 | 5 | 5 | Unresolved
hvmv_4_21 | 5.5174 | 8.2443 | 10.9621 | 99.9431 | 3 | 3 | Unresolved

## Feeder_Final_Confidence
GlobalRank | RankWithinFeeder | GridID | CandidateLineID | CandidateNode | EstimatedBaseHostingMW | CandidateConfidence | NominalVoltageKV | CandidateLineCapacityMW | CandidateLineExistingLoadMW | CandidateLineResidualMW | FeederPeakMW | BreakerCapacityMW | BreakerResidualMW | LimitingElementID | LimitingElementType | LimitingElementClass | LimitingElementCapacityMW | LimitingElementExistingLoadMW | LimitingElementResidualMW | ElectricalDistanceHops | PathLineCount | PathTransformerCount | LoadPointReachabilityPct | HoursWithin10PctOfPeak | PctTimeWithin10PctOfPeak | CentroidX | CentroidY | PathElementIDs | CandidateKey | CandidateLineType | CandidateLineRatingA | BreakerRatingKVA_x | LoadAllocationMethod | BreakerID | SubstationID | BreakerRatingKVA_y | Substation_ExpectedFeederCount | Substation_LoadedFeederCount | Substation_AllMappedFeedersLoaded | Substation_AverageLoadMW | Substation_P95LoadMW | Substation_PeakLoadMW | Substation_PeakTimestampUTC | Substation_SumIndividualFeederPeaksMW | Substation_CoincidenceFactor | Substation_DiversityFactor | Substation_DataCoveragePct | Substation_LoadProfileConfidence | Substation_AvailableCapacityMW | Substation_CapacityResolutionStatus | Substation_CapacitySource | Substation_CapacitySourceKey | Substation_CapacitySourceUnit | Substation_Preferred80PctLimitMW | Substation_Preferred90PctLimitMW | Substation_Hard100PctLimitMW | Substation_Preferred80PctHeadroomMW | Substation_Preferred90PctHeadroomMW | Substation_Hard100PctHeadroomMW | Substation_PeakSubstationUtilizationPct | Substation_OverloadLimitPct | Substation_OverloadDurationHours | Substation_OverloadLimitMW | Substation_OverloadHeadroomMW | FeederPathHostingMW | SubstationHardHeadroomMW | SubstationPreferred90HeadroomMW | SubstationPreferred80HeadroomMW | FinalBaseHostingMW | Preferred90HostingMW | Preferred80HostingMW | FinalConstraintClass | FinalConstraintID | FinalRankingStatus | FinalRank | CandidateCountOnSharedSubstation | VisualHostingMW | HostingBasis | AllSubstationFeedersLoaded | SubstationP95UtilizationPct | FeederVisualRank | FeederConfidenceScore | SubstationConfidenceScore | FinalLocationConfidenceScore | FeederConfidenceBand | SubstationConfidenceBand | FinalLocationConfidenceBand
1 | 1 | GSO_122 | line_5852_22 | S_nCCTT45 | 13.5096 | High | 12.47 | 13.5424 | 0.03276 | 13.5096 | 0.03276 | 14.25 | 14.2172 | line_5852_22 | ACLineSegment | Line | 13.5424 | 0.03276 | 13.5096 | 2 | 1 | 0 | 100 | 5.1667 | 0.058853 | -79.9736 | 36.0826 | recloser_186_22 -> line_5852_22 | GSO_122¦line_5852_22 | ACLineSegment | 660 | 15000 | Meter | br_02_22 | hvmv_1_22 | 15000 | 4 | 4 | TRUE | 0.59032 | 0.70412 | 0.87823 | 2024-01-22 04:00 | 0.9129 | 0.96202 | 1.0395 | 99.9431 | High |  | Unresolved | No recognized explicit capacity value | [13 empty] | 13.5096 | [6 empty] | SubstationCapacityUnresolved | line_5852_22 | Substation capacity unresolved |  | 116 | 13.5096 | Feeder/path thermal hosting | TRUE |  | 1 | 100 | 74.9744 | 74.9744 | High | Low | Low
4 | 1 | GSO_124 | line_6716_22 | S_nCCTT913 | 13.4085 | High | 12.47 | 13.5424 | 0.13387 | 13.4085 | 0.13387 | 14.25 | 14.1161 | line_6716_22 | ACLineSegment | Line | 13.5424 | 0.13387 | 13.4085 | 2 | 1 | 0 | 100 | 2.75 | 0.031325 | -79.9769 | 36.0885 | recloser_198_22 -> line_6716_22 | GSO_124¦line_6716_22 | ACLineSegment | 660 | 15000 | Meter | br_04_22 | hvmv_1_22 | 15000 | 4 | 4 | TRUE | 0.59032 | 0.70412 | 0.87823 | 2024-01-22 04:00 | 0.9129 | 0.96202 | 1.0395 | 99.9431 | High |  | Unresolved | No recognized explicit capacity value | [13 empty] | 13.4085 | [6 empty] | SubstationCapacityUnresolved | line_6716_22 | Substation capacity unresolved |  | 116 | 13.4085 | Feeder/path thermal hosting | TRUE |  | 2 | 100 | 74.9744 | 74.9744 | High | Low | Low
16 | 1 | GSO_123 | line_6019_22 | S_nCCTT521 | 13.1777 | High | 12.47 | 13.5424 | 0.36464 | 13.1777 | 0.36464 | 14.25 | 13.8854 | line_6019_22 | ACLineSegment | Line | 13.5424 | 0.36464 | 13.1777 | 2 | 1 | 0 | 100 | 10.25 | 0.11676 | -79.9741 | 36.0862 | recloser_189_22 -> line_6019_22 | GSO_123¦line_6019_22 | ACLineSegment | 660 | 15000 | Meter | br_03_22 | hvmv_1_22 | 15000 | 4 | 4 | TRUE | 0.59032 | 0.70412 | 0.87823 | 2024-01-22 04:00 | 0.9129 | 0.96202 | 1.0395 | 99.9431 | High |  | Unresolved | No recognized explicit capacity value | [13 empty] | 13.1777 | [6 empty] | SubstationCapacityUnresolved | line_6019_22 | Substation capacity unresolved |  | 116 | 13.1777 | Feeder/path thermal hosting | TRUE |  | 3 | 100 | 74.9744 | 74.9744 | High | Low | Low
60 | 1 | GSO_121 | line_3530_22 | S_nCCTT0 | 13.1607 | High | 12.47 | 13.5424 | 0.38162 | 13.1607 | 0.38162 | 14.25 | 13.8684 | line_3530_22 | ACLineSegment | Line | 13.5424 | 0.38162 | 13.1607 | 2 | 1 | 0 | 100 | 40.6667 | 0.46323 | -79.9724 | 36.0836 | recloser_151_22 -> line_3530_22 | GSO_121¦line_3530_22 | ACLineSegment | 660 | 15000 | Meter | br_01_22 | hvmv_1_22 | 15000 | 4 | 4 | TRUE | 0.59032 | 0.70412 | 0.87823 | 2024-01-22 04:00 | 0.9129 | 0.96202 | 1.0395 | 99.9431 | High |  | Unresolved | No recognized explicit capacity value | [13 empty] | 13.1607 | [6 empty] | SubstationCapacityUnresolved | line_3530_22 | Substation capacity unresolved |  | 116 | 13.1607 | Feeder/path thermal hosting | TRUE |  | 4 | 100 | 74.9744 | 74.9744 | High | Low | Low
102 | 1 | GSO_144 | line_5978_22 | S_nCCTT504 | 11.2671 | High | 12.47 | 12.3112 | 0.13286 | 12.1784 | 0.13286 | 11.4 | 11.2671 | br_024_22 | CircuitBreaker | Breaker | 11.4 | 0.13286 | 11.2671 | 2 | 1 | 0 | 100 | 5.6667 | 0.064548 | -79.9468 | 36.0459 | recloser_188_22 -> line_5978_22 | GSO_144¦line_5978_22 | ACLineSegment | 600 | 12000 | Meter | br_024_22 | hvmv_5_22 | 12000 | 5 | 5 | TRUE | 2.5068 | 3.4495 | 4.4648 | 2024-01-21 04:00 | 4.5806 | 0.97473 | 1.0259 | 99.9431 | High |  | Unresolved | No recognized explicit capacity value | [13 empty] | 11.2671 | [6 empty] | SubstationCapacityUnresolved | br_024_22 | Substation capacity unresolved |  | 250 | 11.2671 | Feeder/path thermal hosting | TRUE |  | 5 | 100 | 74.9744 | 74.9744 | High | Low | Low
103 | 1 | GSO_141 | line_4565_22 | S_nCCTT1344 | 11.02 | High | 12.47 | 13.5424 | 0.37996 | 13.1624 | 0.37996 | 11.4 | 11.02 | br_021_22 | CircuitBreaker | Breaker | 11.4 | 0.37996 | 11.02 | 2 | 1 | 0 | 100 | 12.9167 | 0.14713 | -79.9486 | 36.0429 | recloser_168_22 -> line_4565_22 | GSO_141¦line_4565_22 | ACLineSegment | 660 | 12000 | Meter | br_021_22 | hvmv_5_22 | 12000 | 5 | 5 | TRUE | 2.5068 | 3.4495 | 4.4648 | 2024-01-21 04:00 | 4.5806 | 0.97473 | 1.0259 | 99.9431 | High |  | Unresolved | No recognized explicit capacity value | [13 empty] | 11.02 | [6 empty] | SubstationCapacityUnresolved | br_021_22 | Substation capacity unresolved |  | 250 | 11.02 | Feeder/path thermal hosting | TRUE |  | 6 | 100 | 74.9744 | 74.9744 | High | Low | Low
147 | 1 | GSO_145 | line_6170_22 | S_nCCTT59 | 10.6656 | Medium | 12.47 | 13.5424 | 0.73442 | 12.8079 | 0.73442 | 11.4 | 10.6656 | br_025_22 | CircuitBreaker | Breaker | 11.4 | 0.73442 | 10.6656 | 2 | 1 | 0 | 90.9677 | 16.5 | 0.18795 | -79.943 | 36.0469 | recloser_192_22 -> line_6170_22 | GSO_145¦line_6170_22 | ACLineSegment | 660 | 12000 | Meter | br_025_22 | hvmv_5_22 | 12000 | 5 | 5 | TRUE | 2.5068 | 3.4495 | 4.4648 | 2024-01-21 04:00 | 4.5806 | 0.97473 | 1.0259 | 99.9431 | High |  | Unresolved | No recognized explicit capacity value | [13 empty] | 10.6656 | [6 empty] | SubstationCapacityUnresolved | br_025_22 | Substation capacity unresolved |  | 250 | 10.6656 | Feeder/path thermal hosting | TRUE |  | 7 | 93.6774 | 74.9744 | 74.9744 | Medium | Low | Low
216 | 1 | GSO_142 | line_5429_22 | S_nCCTT245 | 10.6074 | High | 12.47 | 13.5424 | 0.79259 | 12.7498 | 0.79259 | 11.4 | 10.6074 | br_022_22 | CircuitBreaker | Breaker | 11.4 | 0.79259 | 10.6074 | 2 | 1 | 0 | 100 | 23.0833 | 0.26294 | -79.9532 | 36.0417 | recloser_177_22 -> line_5429_22 | GSO_142¦line_5429_22 | ACLineSegment | 660 | 12000 | Meter | br_022_22 | hvmv_5_22 | 12000 | 5 | 5 | TRUE | 2.5068 | 3.4495 | 4.4648 | 2024-01-21 04:00 | 4.5806 | 0.97473 | 1.0259 | 99.9431 | High |  | Unresolved | No recognized explicit capacity value | [13 empty] | 10.6074 | [6 empty] | SubstationCapacityUnresolved | br_022_22 | Substation capacity unresolved |  | 250 | 10.6074 | Feeder/path thermal hosting | TRUE |  | 8 | 100 | 74.9744 | 74.9744 | High | Low | Low
324 | 1 | GSO_18 | line_108323_21 | S_nCCTT10746 | 10.3769 | High | 12.47 | 13.5424 | 2.2897 | 11.2526 | 2.2897 | 12.6666 | 10.3769 | br_025_21 | CircuitBreaker | Breaker | 12.6666 | 2.2897 | 10.3769 | 2 | 1 | 0 | 100 | 27 | 0.30755 | -79.8258 | 36.0207 | recloser_1790_21 -> line_108323_21 | GSO_18¦line_108323_21 | ACLineSegment | 660 | 13333.3 | Meter | br_025_21 | hvmv_4_21 | 13333.3 | 3 | 3 | TRUE | 5.5174 | 8.2443 | 10.9621 | 2024-01-18 04:00 | 10.9889 | 0.99756 | 1.0024 | 99.9431 | High |  | Unresolved | No recognized explicit capacity value | [13 empty] | 10.3769 | [6 empty] | SubstationCapacityUnresolved | br_025_21 | Substation capacity unresolved |  | 132 | 10.3769 | Feeder/path thermal hosting | TRUE |  | 9 | 100 | 74.9744 | 74.9744 | High | Low | Low
395 | 1 | GSO_127 | line_6871_22 | UCMV43 | 9.4748 | High | 12.47 | 13.5424 | 0.025212 | 13.5172 | 0.025212 | 9.5 | 9.4748 | br_07_22 | CircuitBreaker | Breaker | 9.5 | 0.025212 | 9.4748 | 2 | 1 | 0 | 100 | 1.5833 | 0.018035 | -79.9234 | 36.0973 | recloser_204_22 -> line_6871_22 | GSO_127¦line_6871_22 | ACLineSegment | 660 | 10000 | Meter | br_07_22 | hvmv_2_22 | 10000 | 4 | 4 | TRUE | 0.47306 | 0.56262 | 0.69532 | 2024-01-20 15:00 | 0.74162 | 0.93756 | 1.0666 | 99.9431 | High |  | Unresolved | No recognized explicit capacity value | [13 empty] | 9.4748 | [6 empty] | SubstationCapacityUnresolved | br_07_22 | Substation capacity unresolved |  | 101 | 9.4748 | Feeder/path thermal hosting | TRUE |  | 10 | 100 | 74.9744 | 74.9744 | High | Low | Low
396 | 1 | GSO_73 | line_129349_21 | S_nCCTT8151 | 9.4021 | High | 12.47 | 12.3112 | 0.097896 | 12.2133 | 0.097896 | 9.5 | 9.4021 | br_073_21 | CircuitBreaker | Breaker | 9.5 | 0.097896 | 9.4021 | 2 | 1 | 0 | 100 | 1.6667 | 0.018985 | -79.7704 | 36.0826 | recloser_1941_21 -> line_129349_21 | GSO_73¦line_129349_21 | ACLineSegment | 600 | 10000 | Meter | br_073_21 | hvmv_12_21 | 10000 | 5 | 5 | TRUE | 4.926 | 7.0139 | 9.0553 | 2024-01-18 04:00 | 9.2034 | 0.98391 | 1.0164 | 99.9431 | High |  | Unresolved | No recognized explicit capacity value | [13 empty] | 9.4021 | [6 empty] | SubstationCapacityUnresolved | br_073_21 | Substation capacity unresolved |  | 14 | 9.4021 | Feeder/path thermal hosting | TRUE |  | 11 | 100 | 74.9744 | 74.9744 | High | Low | Low
406 | 1 | GSO_128 | line_6872_22 | UCMV51 | 9.3499 | High | 12.47 | 13.5424 | 0.15013 | 13.3922 | 0.15013 | 9.5 | 9.3499 | br_08_22 | CircuitBreaker | Breaker | 9.5 | 0.15013 | 9.3499 | 2 | 1 | 0 | 100 | 11.6667 | 0.13289 | -79.9277 | 36.0971 | recloser_205_22 -> line_6872_22 | GSO_128¦line_6872_22 | ACLineSegment | 660 | 10000 | Meter | br_08_22 | hvmv_2_22 | 10000 | 4 | 4 | TRUE | 0.47306 | 0.56262 | 0.69532 | 2024-01-20 15:00 | 0.74162 | 0.93756 | 1.0666 | 99.9431 | High |  | Unresolved | No recognized explicit capacity value | [13 empty] | 9.3499 | [6 empty] | SubstationCapacityUnresolved | br_08_22 | Substation capacity unresolved |  | 101 | 9.3499 | Feeder/path thermal hosting | TRUE |  | 12 | 100 | 74.9744 | 74.9744 | High | Low | Low
420 | 1 | GSO_126 | line_6387_22 | S_nCCTT691 | 9.2578 | High | 12.47 | 13.5424 | 0.24218 | 13.3002 | 0.24218 | 9.5 | 9.2578 | br_06_22 | CircuitBreaker | Breaker | 9.5 | 0.24218 | 9.2578 | 2 | 1 | 0 | 100 | 17.25 | 0.19649 | -79.9277 | 36.1035 | recloser_194_22 -> line_6387_22 | GSO_126¦line_6387_22 | ACLineSegment | 660 | 10000 | Meter | br_06_22 | hvmv_2_22 | 10000 | 4 | 4 | TRUE | 0.47306 | 0.56262 | 0.69532 | 2024-01-20 15:00 | 0.74162 | 0.93756 | 1.0666 | 99.9431 | High |  | Unresolved | No recognized explicit capacity value | [13 empty] | 9.2578 | [6 empty] | SubstationCapacityUnresolved | br_06_22 | Substation capacity unresolved |  | 101 | 9.2578 | Feeder/path thermal hosting | TRUE |  | 13 | 100 | 74.9744 | 74.9744 | High | Low | Low
451 | 1 | GSO_55 | line_128388_21 | S_nCCTT7620 | 9.2315 | High | 12.47 | 12.3112 | 0.26848 | 12.0428 | 0.26848 | 9.5 | 9.2315 | br_062_21 | CircuitBreaker | Breaker | 9.5 | 0.26848 | 9.2315 | 2 | 1 | 0 | 100 | 19.9167 | 0.22687 | -79.849 | 36.0126 | recloser_1928_21 -> line_128388_21 | GSO_55¦line_128388_21 | ACLineSegment | 600 | 10000 | Meter | br_062_21 | hvmv_10_21 | 10000 | 3 | 3 | TRUE | 3.0835 | 4.6008 | 6.1336 | 2024-01-21 04:00 | 6.1575 | 0.99612 | 1.0039 | 99.9431 | High |  | Unresolved | No recognized explicit capacity value | [13 empty] | 9.2315 | [6 empty] | SubstationCapacityUnresolved | br_062_21 | Substation capacity unresolved |  | 11 | 9.2315 | Feeder/path thermal hosting | TRUE |  | 14 | 100 | 74.9744 | 74.9744 | High | Low | Low
452 | 1 | GSO_125 | line_3656_22 | S_nCCTT1038 | 9.1759 | High | 12.47 | 13.5424 | 0.3241 | 13.2183 | 0.3241 | 9.5 | 9.1759 | br_05_22 | CircuitBreaker | Breaker | 9.5 | 0.3241 | 9.1759 | 2 | 1 | 0 | 100 | 13.25 | 0.15093 | -79.9236 | 36.0975 | recloser_153_22 -> line_3656_22 | GSO_125¦line_3656_22 | ACLineSegment | 660 | 10000 | Meter | br_05_22 | hvmv_2_22 | 10000 | 4 | 4 | TRUE | 0.47306 | 0.56262 | 0.69532 | 2024-01-20 15:00 | 0.74162 | 0.93756 | 1.0666 | 99.9431 | High |  | Unresolved | No recognized explicit capacity value | [13 empty] | 9.1759 | [6 empty] | SubstationCapacityUnresolved | br_05_22 | Substation capacity unresolved |  | 101 | 9.1759 | Feeder/path thermal hosting | TRUE |  | 15 | 100 | 74.9744 | 74.9744 | High | Low | Low

## Substation_Confidence
SubstationID | AverageLoadMW | P95LoadMW | PeakLoadMW | DataCoveragePct | LoadedFeederCount | ExpectedFeederCount | CapacityResolutionStatus | AvailableCapacityMW | SubstationFeederCompletenessPct | SubstationCapacityResolutionScore | SubstationConfidenceScore
hvmv_1_22 | 0.59032 | 0.70412 | 0.87823 | 99.9431 | 4 | 4 | Unresolved |  | 100 | 0 | 74.9744
hvmv_2_22 | 0.47306 | 0.56262 | 0.69532 | 99.9431 | 4 | 4 | Unresolved |  | 100 | 0 | 74.9744
hvmv_5_22 | 2.5068 | 3.4495 | 4.4648 | 99.9431 | 5 | 5 | Unresolved |  | 100 | 0 | 74.9744
hvmv_4_21 | 5.5174 | 8.2443 | 10.9621 | 99.9431 | 3 | 3 | Unresolved |  | 100 | 0 | 74.9744
hvmv_10_21 | 3.0835 | 4.6008 | 6.1336 | 99.9431 | 3 | 3 | Unresolved |  | 100 | 0 | 74.9744
hvmv_12_21 | 4.926 | 7.0139 | 9.0553 | 99.9431 | 5 | 5 | Unresolved |  | 100 | 0 | 74.9744

## Scatter_Best_Feeders
GlobalRank | RankWithinFeeder | GridID | CandidateLineID | CandidateNode | EstimatedBaseHostingMW | CandidateConfidence | NominalVoltageKV | CandidateLineCapacityMW | CandidateLineExistingLoadMW | CandidateLineResidualMW | FeederPeakMW | BreakerCapacityMW | BreakerResidualMW | LimitingElementID | LimitingElementType | LimitingElementClass | LimitingElementCapacityMW | LimitingElementExistingLoadMW | LimitingElementResidualMW | ElectricalDistanceHops | PathLineCount | PathTransformerCount | LoadPointReachabilityPct | HoursWithin10PctOfPeak | PctTimeWithin10PctOfPeak | CentroidX | CentroidY | PathElementIDs | CandidateKey | CandidateLineType | CandidateLineRatingA | BreakerRatingKVA_x | LoadAllocationMethod | BreakerID | SubstationID | BreakerRatingKVA_y | Substation_ExpectedFeederCount | Substation_LoadedFeederCount | Substation_AllMappedFeedersLoaded | Substation_AverageLoadMW | Substation_P95LoadMW | Substation_PeakLoadMW | Substation_PeakTimestampUTC | Substation_SumIndividualFeederPeaksMW | Substation_CoincidenceFactor | Substation_DiversityFactor | Substation_DataCoveragePct | Substation_LoadProfileConfidence | Substation_AvailableCapacityMW | Substation_CapacityResolutionStatus | Substation_CapacitySource | Substation_CapacitySourceKey | Substation_CapacitySourceUnit | Substation_Preferred80PctLimitMW | Substation_Preferred90PctLimitMW | Substation_Hard100PctLimitMW | Substation_Preferred80PctHeadroomMW | Substation_Preferred90PctHeadroomMW | Substation_Hard100PctHeadroomMW | Substation_PeakSubstationUtilizationPct | Substation_OverloadLimitPct | Substation_OverloadDurationHours | Substation_OverloadLimitMW | Substation_OverloadHeadroomMW | FeederPathHostingMW | SubstationHardHeadroomMW | SubstationPreferred90HeadroomMW | SubstationPreferred80HeadroomMW | FinalBaseHostingMW | Preferred90HostingMW | Preferred80HostingMW | FinalConstraintClass | FinalConstraintID | FinalRankingStatus | FinalRank | CandidateCountOnSharedSubstation | VisualHostingMW | HostingBasis | AllSubstationFeedersLoaded | SubstationP95UtilizationPct | FeederVisualRank | FeederConfidenceScore | SubstationConfidenceScore | FinalLocationConfidenceScore | FeederConfidenceBand | SubstationConfidenceBand | FinalLocationConfidenceBand
1 | 1 | GSO_122 | line_5852_22 | S_nCCTT45 | 13.5096 | High | 12.47 | 13.5424 | 0.03276 | 13.5096 | 0.03276 | 14.25 | 14.2172 | line_5852_22 | ACLineSegment | Line | 13.5424 | 0.03276 | 13.5096 | 2 | 1 | 0 | 100 | 5.1667 | 0.058853 | -79.9736 | 36.0826 | recloser_186_22 -> line_5852_22 | GSO_122¦line_5852_22 | ACLineSegment | 660 | 15000 | Meter | br_02_22 | hvmv_1_22 | 15000 | 4 | 4 | TRUE | 0.59032 | 0.70412 | 0.87823 | 2024-01-22 04:00 | 0.9129 | 0.96202 | 1.0395 | 99.9431 | High |  | Unresolved | No recognized explicit capacity value | [13 empty] | 13.5096 | [6 empty] | SubstationCapacityUnresolved | line_5852_22 | Substation capacity unresolved |  | 116 | 13.5096 | Feeder/path thermal hosting | TRUE |  | 1 | 100 | 74.9744 | 74.9744 | High | Low | Low
4 | 1 | GSO_124 | line_6716_22 | S_nCCTT913 | 13.4085 | High | 12.47 | 13.5424 | 0.13387 | 13.4085 | 0.13387 | 14.25 | 14.1161 | line_6716_22 | ACLineSegment | Line | 13.5424 | 0.13387 | 13.4085 | 2 | 1 | 0 | 100 | 2.75 | 0.031325 | -79.9769 | 36.0885 | recloser_198_22 -> line_6716_22 | GSO_124¦line_6716_22 | ACLineSegment | 660 | 15000 | Meter | br_04_22 | hvmv_1_22 | 15000 | 4 | 4 | TRUE | 0.59032 | 0.70412 | 0.87823 | 2024-01-22 04:00 | 0.9129 | 0.96202 | 1.0395 | 99.9431 | High |  | Unresolved | No recognized explicit capacity value | [13 empty] | 13.4085 | [6 empty] | SubstationCapacityUnresolved | line_6716_22 | Substation capacity unresolved |  | 116 | 13.4085 | Feeder/path thermal hosting | TRUE |  | 2 | 100 | 74.9744 | 74.9744 | High | Low | Low
16 | 1 | GSO_123 | line_6019_22 | S_nCCTT521 | 13.1777 | High | 12.47 | 13.5424 | 0.36464 | 13.1777 | 0.36464 | 14.25 | 13.8854 | line_6019_22 | ACLineSegment | Line | 13.5424 | 0.36464 | 13.1777 | 2 | 1 | 0 | 100 | 10.25 | 0.11676 | -79.9741 | 36.0862 | recloser_189_22 -> line_6019_22 | GSO_123¦line_6019_22 | ACLineSegment | 660 | 15000 | Meter | br_03_22 | hvmv_1_22 | 15000 | 4 | 4 | TRUE | 0.59032 | 0.70412 | 0.87823 | 2024-01-22 04:00 | 0.9129 | 0.96202 | 1.0395 | 99.9431 | High |  | Unresolved | No recognized explicit capacity value | [13 empty] | 13.1777 | [6 empty] | SubstationCapacityUnresolved | line_6019_22 | Substation capacity unresolved |  | 116 | 13.1777 | Feeder/path thermal hosting | TRUE |  | 3 | 100 | 74.9744 | 74.9744 | High | Low | Low
60 | 1 | GSO_121 | line_3530_22 | S_nCCTT0 | 13.1607 | High | 12.47 | 13.5424 | 0.38162 | 13.1607 | 0.38162 | 14.25 | 13.8684 | line_3530_22 | ACLineSegment | Line | 13.5424 | 0.38162 | 13.1607 | 2 | 1 | 0 | 100 | 40.6667 | 0.46323 | -79.9724 | 36.0836 | recloser_151_22 -> line_3530_22 | GSO_121¦line_3530_22 | ACLineSegment | 660 | 15000 | Meter | br_01_22 | hvmv_1_22 | 15000 | 4 | 4 | TRUE | 0.59032 | 0.70412 | 0.87823 | 2024-01-22 04:00 | 0.9129 | 0.96202 | 1.0395 | 99.9431 | High |  | Unresolved | No recognized explicit capacity value | [13 empty] | 13.1607 | [6 empty] | SubstationCapacityUnresolved | line_3530_22 | Substation capacity unresolved |  | 116 | 13.1607 | Feeder/path thermal hosting | TRUE |  | 4 | 100 | 74.9744 | 74.9744 | High | Low | Low
102 | 1 | GSO_144 | line_5978_22 | S_nCCTT504 | 11.2671 | High | 12.47 | 12.3112 | 0.13286 | 12.1784 | 0.13286 | 11.4 | 11.2671 | br_024_22 | CircuitBreaker | Breaker | 11.4 | 0.13286 | 11.2671 | 2 | 1 | 0 | 100 | 5.6667 | 0.064548 | -79.9468 | 36.0459 | recloser_188_22 -> line_5978_22 | GSO_144¦line_5978_22 | ACLineSegment | 600 | 12000 | Meter | br_024_22 | hvmv_5_22 | 12000 | 5 | 5 | TRUE | 2.5068 | 3.4495 | 4.4648 | 2024-01-21 04:00 | 4.5806 | 0.97473 | 1.0259 | 99.9431 | High |  | Unresolved | No recognized explicit capacity value | [13 empty] | 11.2671 | [6 empty] | SubstationCapacityUnresolved | br_024_22 | Substation capacity unresolved |  | 250 | 11.2671 | Feeder/path thermal hosting | TRUE |  | 5 | 100 | 74.9744 | 74.9744 | High | Low | Low
103 | 1 | GSO_141 | line_4565_22 | S_nCCTT1344 | 11.02 | High | 12.47 | 13.5424 | 0.37996 | 13.1624 | 0.37996 | 11.4 | 11.02 | br_021_22 | CircuitBreaker | Breaker | 11.4 | 0.37996 | 11.02 | 2 | 1 | 0 | 100 | 12.9167 | 0.14713 | -79.9486 | 36.0429 | recloser_168_22 -> line_4565_22 | GSO_141¦line_4565_22 | ACLineSegment | 660 | 12000 | Meter | br_021_22 | hvmv_5_22 | 12000 | 5 | 5 | TRUE | 2.5068 | 3.4495 | 4.4648 | 2024-01-21 04:00 | 4.5806 | 0.97473 | 1.0259 | 99.9431 | High |  | Unresolved | No recognized explicit capacity value | [13 empty] | 11.02 | [6 empty] | SubstationCapacityUnresolved | br_021_22 | Substation capacity unresolved |  | 250 | 11.02 | Feeder/path thermal hosting | TRUE |  | 6 | 100 | 74.9744 | 74.9744 | High | Low | Low
147 | 1 | GSO_145 | line_6170_22 | S_nCCTT59 | 10.6656 | Medium | 12.47 | 13.5424 | 0.73442 | 12.8079 | 0.73442 | 11.4 | 10.6656 | br_025_22 | CircuitBreaker | Breaker | 11.4 | 0.73442 | 10.6656 | 2 | 1 | 0 | 90.9677 | 16.5 | 0.18795 | -79.943 | 36.0469 | recloser_192_22 -> line_6170_22 | GSO_145¦line_6170_22 | ACLineSegment | 660 | 12000 | Meter | br_025_22 | hvmv_5_22 | 12000 | 5 | 5 | TRUE | 2.5068 | 3.4495 | 4.4648 | 2024-01-21 04:00 | 4.5806 | 0.97473 | 1.0259 | 99.9431 | High |  | Unresolved | No recognized explicit capacity value | [13 empty] | 10.6656 | [6 empty] | SubstationCapacityUnresolved | br_025_22 | Substation capacity unresolved |  | 250 | 10.6656 | Feeder/path thermal hosting | TRUE |  | 7 | 93.6774 | 74.9744 | 74.9744 | Medium | Low | Low
216 | 1 | GSO_142 | line_5429_22 | S_nCCTT245 | 10.6074 | High | 12.47 | 13.5424 | 0.79259 | 12.7498 | 0.79259 | 11.4 | 10.6074 | br_022_22 | CircuitBreaker | Breaker | 11.4 | 0.79259 | 10.6074 | 2 | 1 | 0 | 100 | 23.0833 | 0.26294 | -79.9532 | 36.0417 | recloser_177_22 -> line_5429_22 | GSO_142¦line_5429_22 | ACLineSegment | 660 | 12000 | Meter | br_022_22 | hvmv_5_22 | 12000 | 5 | 5 | TRUE | 2.5068 | 3.4495 | 4.4648 | 2024-01-21 04:00 | 4.5806 | 0.97473 | 1.0259 | 99.9431 | High |  | Unresolved | No recognized explicit capacity value | [13 empty] | 10.6074 | [6 empty] | SubstationCapacityUnresolved | br_022_22 | Substation capacity unresolved |  | 250 | 10.6074 | Feeder/path thermal hosting | TRUE |  | 8 | 100 | 74.9744 | 74.9744 | High | Low | Low
324 | 1 | GSO_18 | line_108323_21 | S_nCCTT10746 | 10.3769 | High | 12.47 | 13.5424 | 2.2897 | 11.2526 | 2.2897 | 12.6666 | 10.3769 | br_025_21 | CircuitBreaker | Breaker | 12.6666 | 2.2897 | 10.3769 | 2 | 1 | 0 | 100 | 27 | 0.30755 | -79.8258 | 36.0207 | recloser_1790_21 -> line_108323_21 | GSO_18¦line_108323_21 | ACLineSegment | 660 | 13333.3 | Meter | br_025_21 | hvmv_4_21 | 13333.3 | 3 | 3 | TRUE | 5.5174 | 8.2443 | 10.9621 | 2024-01-18 04:00 | 10.9889 | 0.99756 | 1.0024 | 99.9431 | High |  | Unresolved | No recognized explicit capacity value | [13 empty] | 10.3769 | [6 empty] | SubstationCapacityUnresolved | br_025_21 | Substation capacity unresolved |  | 132 | 10.3769 | Feeder/path thermal hosting | TRUE |  | 9 | 100 | 74.9744 | 74.9744 | High | Low | Low
395 | 1 | GSO_127 | line_6871_22 | UCMV43 | 9.4748 | High | 12.47 | 13.5424 | 0.025212 | 13.5172 | 0.025212 | 9.5 | 9.4748 | br_07_22 | CircuitBreaker | Breaker | 9.5 | 0.025212 | 9.4748 | 2 | 1 | 0 | 100 | 1.5833 | 0.018035 | -79.9234 | 36.0973 | recloser_204_22 -> line_6871_22 | GSO_127¦line_6871_22 | ACLineSegment | 660 | 10000 | Meter | br_07_22 | hvmv_2_22 | 10000 | 4 | 4 | TRUE | 0.47306 | 0.56262 | 0.69532 | 2024-01-20 15:00 | 0.74162 | 0.93756 | 1.0666 | 99.9431 | High |  | Unresolved | No recognized explicit capacity value | [13 empty] | 9.4748 | [6 empty] | SubstationCapacityUnresolved | br_07_22 | Substation capacity unresolved |  | 101 | 9.4748 | Feeder/path thermal hosting | TRUE |  | 10 | 100 | 74.9744 | 74.9744 | High | Low | Low
396 | 1 | GSO_73 | line_129349_21 | S_nCCTT8151 | 9.4021 | High | 12.47 | 12.3112 | 0.097896 | 12.2133 | 0.097896 | 9.5 | 9.4021 | br_073_21 | CircuitBreaker | Breaker | 9.5 | 0.097896 | 9.4021 | 2 | 1 | 0 | 100 | 1.6667 | 0.018985 | -79.7704 | 36.0826 | recloser_1941_21 -> line_129349_21 | GSO_73¦line_129349_21 | ACLineSegment | 600 | 10000 | Meter | br_073_21 | hvmv_12_21 | 10000 | 5 | 5 | TRUE | 4.926 | 7.0139 | 9.0553 | 2024-01-18 04:00 | 9.2034 | 0.98391 | 1.0164 | 99.9431 | High |  | Unresolved | No recognized explicit capacity value | [13 empty] | 9.4021 | [6 empty] | SubstationCapacityUnresolved | br_073_21 | Substation capacity unresolved |  | 14 | 9.4021 | Feeder/path thermal hosting | TRUE |  | 11 | 100 | 74.9744 | 74.9744 | High | Low | Low
406 | 1 | GSO_128 | line_6872_22 | UCMV51 | 9.3499 | High | 12.47 | 13.5424 | 0.15013 | 13.3922 | 0.15013 | 9.5 | 9.3499 | br_08_22 | CircuitBreaker | Breaker | 9.5 | 0.15013 | 9.3499 | 2 | 1 | 0 | 100 | 11.6667 | 0.13289 | -79.9277 | 36.0971 | recloser_205_22 -> line_6872_22 | GSO_128¦line_6872_22 | ACLineSegment | 660 | 10000 | Meter | br_08_22 | hvmv_2_22 | 10000 | 4 | 4 | TRUE | 0.47306 | 0.56262 | 0.69532 | 2024-01-20 15:00 | 0.74162 | 0.93756 | 1.0666 | 99.9431 | High |  | Unresolved | No recognized explicit capacity value | [13 empty] | 9.3499 | [6 empty] | SubstationCapacityUnresolved | br_08_22 | Substation capacity unresolved |  | 101 | 9.3499 | Feeder/path thermal hosting | TRUE |  | 12 | 100 | 74.9744 | 74.9744 | High | Low | Low
420 | 1 | GSO_126 | line_6387_22 | S_nCCTT691 | 9.2578 | High | 12.47 | 13.5424 | 0.24218 | 13.3002 | 0.24218 | 9.5 | 9.2578 | br_06_22 | CircuitBreaker | Breaker | 9.5 | 0.24218 | 9.2578 | 2 | 1 | 0 | 100 | 17.25 | 0.19649 | -79.9277 | 36.1035 | recloser_194_22 -> line_6387_22 | GSO_126¦line_6387_22 | ACLineSegment | 660 | 10000 | Meter | br_06_22 | hvmv_2_22 | 10000 | 4 | 4 | TRUE | 0.47306 | 0.56262 | 0.69532 | 2024-01-20 15:00 | 0.74162 | 0.93756 | 1.0666 | 99.9431 | High |  | Unresolved | No recognized explicit capacity value | [13 empty] | 9.2578 | [6 empty] | SubstationCapacityUnresolved | br_06_22 | Substation capacity unresolved |  | 101 | 9.2578 | Feeder/path thermal hosting | TRUE |  | 13 | 100 | 74.9744 | 74.9744 | High | Low | Low
451 | 1 | GSO_55 | line_128388_21 | S_nCCTT7620 | 9.2315 | High | 12.47 | 12.3112 | 0.26848 | 12.0428 | 0.26848 | 9.5 | 9.2315 | br_062_21 | CircuitBreaker | Breaker | 9.5 | 0.26848 | 9.2315 | 2 | 1 | 0 | 100 | 19.9167 | 0.22687 | -79.849 | 36.0126 | recloser_1928_21 -> line_128388_21 | GSO_55¦line_128388_21 | ACLineSegment | 600 | 10000 | Meter | br_062_21 | hvmv_10_21 | 10000 | 3 | 3 | TRUE | 3.0835 | 4.6008 | 6.1336 | 2024-01-21 04:00 | 6.1575 | 0.99612 | 1.0039 | 99.9431 | High |  | Unresolved | No recognized explicit capacity value | [13 empty] | 9.2315 | [6 empty] | SubstationCapacityUnresolved | br_062_21 | Substation capacity unresolved |  | 11 | 9.2315 | Feeder/path thermal hosting | TRUE |  | 14 | 100 | 74.9744 | 74.9744 | High | Low | Low
452 | 1 | GSO_125 | line_3656_22 | S_nCCTT1038 | 9.1759 | High | 12.47 | 13.5424 | 0.3241 | 13.2183 | 0.3241 | 9.5 | 9.1759 | br_05_22 | CircuitBreaker | Breaker | 9.5 | 0.3241 | 9.1759 | 2 | 1 | 0 | 100 | 13.25 | 0.15093 | -79.9236 | 36.0975 | recloser_153_22 -> line_3656_22 | GSO_125¦line_3656_22 | ACLineSegment | 660 | 10000 | Meter | br_05_22 | hvmv_2_22 | 10000 | 4 | 4 | TRUE | 0.47306 | 0.56262 | 0.69532 | 2024-01-20 15:00 | 0.74162 | 0.93756 | 1.0666 | 99.9431 | High |  | Unresolved | No recognized explicit capacity value | [13 empty] | 9.1759 | [6 empty] | SubstationCapacityUnresolved | br_05_22 | Substation capacity unresolved |  | 101 | 9.1759 | Feeder/path thermal hosting | TRUE |  | 15 | 100 | 74.9744 | 74.9744 | High | Low | Low

## Confidence_Rules
Item | Definition
P95 visual | One row per substation with Average P95 and annual Peak load
Scatter candidate set | Only the best hosting candidate on each feeder is plotted so repeated line candidates do not obscure the chart
Visual hosting value | FinalBaseHostingMW when available otherwise FeederPathHostingMW otherwise EstimatedBaseHostingMW
Feeder confidence score | 70 percent LoadPointReachabilityPct plus 30 percent equipment rating completeness
Equipment rating completeness | Equal availability checks for breaker capacity limiting element capacity and candidate line capacity
Substation confidence score | 45 percent SCADA coverage plus 30 percent loaded feeder completeness plus 25 percent explicit capacity resolution
Capacity resolution score | Resolved equals 100 Ambiguous equals 50 Unresolved equals 0
Final location confidence score | Minimum of feeder confidence and the serving substation confidence
Low confidence | Score below 80
Medium confidence | Score from 80 to below 95
High confidence | Score at least 95
Current substation capacity limitation | When substation capacity is unresolved the scatter uses P95 load MW instead of P95 utilization percent