## Scenario_Summary
Scenario | MaxSites | OptimalTotalMW | SelectedSiteCount | ResolvedSubstations | UnresolvedSubstations | ModelStatus | UnresolvedSubstationPolicy | PrimaryTermination | SecondaryTermination
Base_MaxFirmMW |  | 116.6684 | 10 | 0 | 4 | FEEDER_CONSTRAINED_UPPER_BOUND | ALLOW_AS_UPPER_BOUND | optimal | optimal
Max_1_Sites | 1 | 13.5096 | 1 | 0 | 4 | FEEDER_CONSTRAINED_UPPER_BOUND | ALLOW_AS_UPPER_BOUND | optimal | optimal
Max_2_Sites | 2 | 26.9181 | 2 | 0 | 4 | FEEDER_CONSTRAINED_UPPER_BOUND | ALLOW_AS_UPPER_BOUND | optimal | optimal
Max_3_Sites | 3 | 40.0958 | 3 | 0 | 4 | FEEDER_CONSTRAINED_UPPER_BOUND | ALLOW_AS_UPPER_BOUND | optimal | optimal
Max_4_Sites | 4 | 53.2566 | 4 | 0 | 4 | FEEDER_CONSTRAINED_UPPER_BOUND | ALLOW_AS_UPPER_BOUND | optimal | optimal
Max_5_Sites | 5 | 64.5237 | 5 | 0 | 4 | FEEDER_CONSTRAINED_UPPER_BOUND | ALLOW_AS_UPPER_BOUND | optimal | optimal
Max_6_Sites | 6 | 75.5438 | 6 | 0 | 4 | FEEDER_CONSTRAINED_UPPER_BOUND | ALLOW_AS_UPPER_BOUND | optimal | optimal
Max_7_Sites | 7 | 86.2093 | 7 | 0 | 4 | FEEDER_CONSTRAINED_UPPER_BOUND | ALLOW_AS_UPPER_BOUND | optimal | optimal
Max_8_Sites | 8 | 96.8167 | 8 | 0 | 4 | FEEDER_CONSTRAINED_UPPER_BOUND | ALLOW_AS_UPPER_BOUND | optimal | optimal
Max_9_Sites | 9 | 107.1937 | 9 | 0 | 4 | FEEDER_CONSTRAINED_UPPER_BOUND | ALLOW_AS_UPPER_BOUND | optimal | optimal
Max_10_Sites | 10 | 116.6684 | 10 | 0 | 4 | FEEDER_CONSTRAINED_UPPER_BOUND | ALLOW_AS_UPPER_BOUND | optimal | optimal

## Base_Selected_Sites
Scenario | MaxSites | CandidateKey | GridID | SubstationID | CandidateLineID | Selected | InstalledDCMW | FirmHostingCeilingMW | UnusedFeederHostingMW | ModelStatus
Base_MaxFirmMW |  | GSO_122¦line_5852_22 | GSO_122 | hvmv_1_22 | line_5852_22 | TRUE | 13.5096 | 13.5096 | 0 | FEEDER_CONSTRAINED_UPPER_BOUND
Base_MaxFirmMW |  | GSO_124¦line_6716_22 | GSO_124 | hvmv_1_22 | line_6716_22 | TRUE | 13.4085 | 13.4085 | 0 | FEEDER_CONSTRAINED_UPPER_BOUND
Base_MaxFirmMW |  | GSO_123¦line_6019_22 | GSO_123 | hvmv_1_22 | line_6019_22 | TRUE | 13.1777 | 13.1777 | 0 | FEEDER_CONSTRAINED_UPPER_BOUND
Base_MaxFirmMW |  | GSO_121¦line_3530_22 | GSO_121 | hvmv_1_22 | line_3530_22 | TRUE | 13.1607 | 13.1607 | 0 | FEEDER_CONSTRAINED_UPPER_BOUND
Base_MaxFirmMW |  | GSO_144¦line_5978_22 | GSO_144 | hvmv_5_22 | line_5978_22 | TRUE | 11.2671 | 11.2671 | 0 | FEEDER_CONSTRAINED_UPPER_BOUND
Base_MaxFirmMW |  | GSO_141¦line_4565_22 | GSO_141 | hvmv_5_22 | line_4565_22 | TRUE | 11.02 | 11.02 | 0 | FEEDER_CONSTRAINED_UPPER_BOUND
Base_MaxFirmMW |  | GSO_145¦line_6170_22 | GSO_145 | hvmv_5_22 | line_6170_22 | TRUE | 10.6656 | 10.6656 | 0 | FEEDER_CONSTRAINED_UPPER_BOUND
Base_MaxFirmMW |  | GSO_142¦line_5429_22 | GSO_142 | hvmv_5_22 | line_5429_22 | TRUE | 10.6074 | 10.6074 | 0 | FEEDER_CONSTRAINED_UPPER_BOUND
Base_MaxFirmMW |  | GSO_18¦line_108323_21 | GSO_18 | hvmv_4_21 | line_108323_21 | TRUE | 10.3769 | 10.3769 | 0 | FEEDER_CONSTRAINED_UPPER_BOUND
Base_MaxFirmMW |  | GSO_127¦line_6871_22 | GSO_127 | hvmv_2_22 | line_6871_22 | TRUE | 9.4748 | 9.4748 | 0 | FEEDER_CONSTRAINED_UPPER_BOUND

## Site_Count_Frontier
MaxSites | OptimalFirmDCMW | SelectedSiteCount | IncrementalMWVsPreviousSiteLimit
1 | 13.5096 | 1 | 13.5096
2 | 26.9181 | 2 | 13.4085
3 | 40.0958 | 3 | 13.1777
4 | 53.2566 | 4 | 13.1607
5 | 64.5237 | 5 | 11.2671
6 | 75.5438 | 6 | 11.02
7 | 86.2093 | 7 | 10.6656
8 | 96.8167 | 8 | 10.6074
9 | 107.1937 | 9 | 10.3769
10 | 116.6684 | 10 | 9.4748

## Selected_All_Scenarios
Scenario | MaxSites | CandidateKey | GridID | SubstationID | CandidateLineID | Selected | InstalledDCMW | FirmHostingCeilingMW | UnusedFeederHostingMW | ModelStatus
Base_MaxFirmMW |  | GSO_122¦line_5852_22 | GSO_122 | hvmv_1_22 | line_5852_22 | TRUE | 13.5096 | 13.5096 | 0 | FEEDER_CONSTRAINED_UPPER_BOUND
Base_MaxFirmMW |  | GSO_124¦line_6716_22 | GSO_124 | hvmv_1_22 | line_6716_22 | TRUE | 13.4085 | 13.4085 | 0 | FEEDER_CONSTRAINED_UPPER_BOUND
Base_MaxFirmMW |  | GSO_123¦line_6019_22 | GSO_123 | hvmv_1_22 | line_6019_22 | TRUE | 13.1777 | 13.1777 | 0 | FEEDER_CONSTRAINED_UPPER_BOUND
Base_MaxFirmMW |  | GSO_121¦line_3530_22 | GSO_121 | hvmv_1_22 | line_3530_22 | TRUE | 13.1607 | 13.1607 | 0 | FEEDER_CONSTRAINED_UPPER_BOUND
Base_MaxFirmMW |  | GSO_144¦line_5978_22 | GSO_144 | hvmv_5_22 | line_5978_22 | TRUE | 11.2671 | 11.2671 | 0 | FEEDER_CONSTRAINED_UPPER_BOUND
Base_MaxFirmMW |  | GSO_141¦line_4565_22 | GSO_141 | hvmv_5_22 | line_4565_22 | TRUE | 11.02 | 11.02 | 0 | FEEDER_CONSTRAINED_UPPER_BOUND
Base_MaxFirmMW |  | GSO_145¦line_6170_22 | GSO_145 | hvmv_5_22 | line_6170_22 | TRUE | 10.6656 | 10.6656 | 0 | FEEDER_CONSTRAINED_UPPER_BOUND
Base_MaxFirmMW |  | GSO_142¦line_5429_22 | GSO_142 | hvmv_5_22 | line_5429_22 | TRUE | 10.6074 | 10.6074 | 0 | FEEDER_CONSTRAINED_UPPER_BOUND
Base_MaxFirmMW |  | GSO_18¦line_108323_21 | GSO_18 | hvmv_4_21 | line_108323_21 | TRUE | 10.3769 | 10.3769 | 0 | FEEDER_CONSTRAINED_UPPER_BOUND
Base_MaxFirmMW |  | GSO_127¦line_6871_22 | GSO_127 | hvmv_2_22 | line_6871_22 | TRUE | 9.4748 | 9.4748 | 0 | FEEDER_CONSTRAINED_UPPER_BOUND
Max_1_Sites | 1 | GSO_122¦line_5852_22 | GSO_122 | hvmv_1_22 | line_5852_22 | TRUE | 13.5096 | 13.5096 | 1e-06 | FEEDER_CONSTRAINED_UPPER_BOUND
Max_2_Sites | 2 | GSO_122¦line_5852_22 | GSO_122 | hvmv_1_22 | line_5852_22 | TRUE | 13.5096 | 13.5096 | 0 | FEEDER_CONSTRAINED_UPPER_BOUND
Max_2_Sites | 2 | GSO_124¦line_6716_22 | GSO_124 | hvmv_1_22 | line_6716_22 | TRUE | 13.4085 | 13.4085 | 1e-06 | FEEDER_CONSTRAINED_UPPER_BOUND
Max_3_Sites | 3 | GSO_122¦line_5852_22 | GSO_122 | hvmv_1_22 | line_5852_22 | TRUE | 13.5096 | 13.5096 | 0 | FEEDER_CONSTRAINED_UPPER_BOUND
Max_3_Sites | 3 | GSO_124¦line_6716_22 | GSO_124 | hvmv_1_22 | line_6716_22 | TRUE | 13.4085 | 13.4085 | 0 | FEEDER_CONSTRAINED_UPPER_BOUND
Max_3_Sites | 3 | GSO_123¦line_6019_22 | GSO_123 | hvmv_1_22 | line_6019_22 | TRUE | 13.1777 | 13.1777 | 1e-06 | FEEDER_CONSTRAINED_UPPER_BOUND
Max_4_Sites | 4 | GSO_122¦line_5852_22 | GSO_122 | hvmv_1_22 | line_5852_22 | TRUE | 13.5096 | 13.5096 | 0 | FEEDER_CONSTRAINED_UPPER_BOUND
Max_4_Sites | 4 | GSO_124¦line_6716_22 | GSO_124 | hvmv_1_22 | line_6716_22 | TRUE | 13.4085 | 13.4085 | 1.7764e-15 | FEEDER_CONSTRAINED_UPPER_BOUND
Max_4_Sites | 4 | GSO_123¦line_6019_22 | GSO_123 | hvmv_1_22 | line_6019_22 | TRUE | 13.1777 | 13.1777 | 0 | FEEDER_CONSTRAINED_UPPER_BOUND
Max_4_Sites | 4 | GSO_121¦line_3530_22 | GSO_121 | hvmv_1_22 | line_3530_22 | TRUE | 13.1607 | 13.1607 | 1e-06 | FEEDER_CONSTRAINED_UPPER_BOUND
Max_5_Sites | 5 | GSO_122¦line_5852_22 | GSO_122 | hvmv_1_22 | line_5852_22 | TRUE | 13.5096 | 13.5096 | 0 | FEEDER_CONSTRAINED_UPPER_BOUND
Max_5_Sites | 5 | GSO_124¦line_6716_22 | GSO_124 | hvmv_1_22 | line_6716_22 | TRUE | 13.4085 | 13.4085 | 0 | FEEDER_CONSTRAINED_UPPER_BOUND
Max_5_Sites | 5 | GSO_123¦line_6019_22 | GSO_123 | hvmv_1_22 | line_6019_22 | TRUE | 13.1777 | 13.1777 | 0 | FEEDER_CONSTRAINED_UPPER_BOUND
Max_5_Sites | 5 | GSO_121¦line_3530_22 | GSO_121 | hvmv_1_22 | line_3530_22 | TRUE | 13.1607 | 13.1607 | 0 | FEEDER_CONSTRAINED_UPPER_BOUND
Max_5_Sites | 5 | GSO_144¦line_5978_22 | GSO_144 | hvmv_5_22 | line_5978_22 | TRUE | 11.2671 | 11.2671 | 1e-06 | FEEDER_CONSTRAINED_UPPER_BOUND
Max_6_Sites | 6 | GSO_122¦line_5852_22 | GSO_122 | hvmv_1_22 | line_5852_22 | TRUE | 13.5096 | 13.5096 | 3.5527e-15 | FEEDER_CONSTRAINED_UPPER_BOUND
Max_6_Sites | 6 | GSO_124¦line_6716_22 | GSO_124 | hvmv_1_22 | line_6716_22 | TRUE | 13.4085 | 13.4085 | 0 | FEEDER_CONSTRAINED_UPPER_BOUND
Max_6_Sites | 6 | GSO_123¦line_6019_22 | GSO_123 | hvmv_1_22 | line_6019_22 | TRUE | 13.1777 | 13.1777 | 0 | FEEDER_CONSTRAINED_UPPER_BOUND
Max_6_Sites | 6 | GSO_121¦line_3530_22 | GSO_121 | hvmv_1_22 | line_3530_22 | TRUE | 13.1607 | 13.1607 | 0 | FEEDER_CONSTRAINED_UPPER_BOUND
Max_6_Sites | 6 | GSO_144¦line_5978_22 | GSO_144 | hvmv_5_22 | line_5978_22 | TRUE | 11.2671 | 11.2671 | -1.7764e-15 | FEEDER_CONSTRAINED_UPPER_BOUND
Max_6_Sites | 6 | GSO_141¦line_4565_22 | GSO_141 | hvmv_5_22 | line_4565_22 | TRUE | 11.02 | 11.02 | 1e-06 | FEEDER_CONSTRAINED_UPPER_BOUND
Max_7_Sites | 7 | GSO_122¦line_5852_22 | GSO_122 | hvmv_1_22 | line_5852_22 | TRUE | 13.5096 | 13.5096 | 0 | FEEDER_CONSTRAINED_UPPER_BOUND
Max_7_Sites | 7 | GSO_124¦line_6716_22 | GSO_124 | hvmv_1_22 | line_6716_22 | TRUE | 13.4085 | 13.4085 | 0 | FEEDER_CONSTRAINED_UPPER_BOUND
Max_7_Sites | 7 | GSO_123¦line_6019_22 | GSO_123 | hvmv_1_22 | line_6019_22 | TRUE | 13.1777 | 13.1777 | 0 | FEEDER_CONSTRAINED_UPPER_BOUND
Max_7_Sites | 7 | GSO_121¦line_3530_22 | GSO_121 | hvmv_1_22 | line_3530_22 | TRUE | 13.1607 | 13.1607 | 0 | FEEDER_CONSTRAINED_UPPER_BOUND
Max_7_Sites | 7 | GSO_144¦line_5978_22 | GSO_144 | hvmv_5_22 | line_5978_22 | TRUE | 11.2671 | 11.2671 | 1.7764e-15 | FEEDER_CONSTRAINED_UPPER_BOUND
Max_7_Sites | 7 | GSO_141¦line_4565_22 | GSO_141 | hvmv_5_22 | line_4565_22 | TRUE | 11.02 | 11.02 | 0 | FEEDER_CONSTRAINED_UPPER_BOUND
Max_7_Sites | 7 | GSO_145¦line_6170_22 | GSO_145 | hvmv_5_22 | line_6170_22 | TRUE | 10.6656 | 10.6656 | 1e-06 | FEEDER_CONSTRAINED_UPPER_BOUND
Max_8_Sites | 8 | GSO_122¦line_5852_22 | GSO_122 | hvmv_1_22 | line_5852_22 | TRUE | 13.5096 | 13.5096 | 0 | FEEDER_CONSTRAINED_UPPER_BOUND
Max_8_Sites | 8 | GSO_124¦line_6716_22 | GSO_124 | hvmv_1_22 | line_6716_22 | TRUE | 13.4085 | 13.4085 | 0 | FEEDER_CONSTRAINED_UPPER_BOUND
Max_8_Sites | 8 | GSO_123¦line_6019_22 | GSO_123 | hvmv_1_22 | line_6019_22 | TRUE | 13.1777 | 13.1777 | 0 | FEEDER_CONSTRAINED_UPPER_BOUND
Max_8_Sites | 8 | GSO_121¦line_3530_22 | GSO_121 | hvmv_1_22 | line_3530_22 | TRUE | 13.1607 | 13.1607 | 0 | FEEDER_CONSTRAINED_UPPER_BOUND
Max_8_Sites | 8 | GSO_144¦line_5978_22 | GSO_144 | hvmv_5_22 | line_5978_22 | TRUE | 11.2671 | 11.2671 | 0 | FEEDER_CONSTRAINED_UPPER_BOUND
Max_8_Sites | 8 | GSO_141¦line_4565_22 | GSO_141 | hvmv_5_22 | line_4565_22 | TRUE | 11.02 | 11.02 | 0 | FEEDER_CONSTRAINED_UPPER_BOUND
Max_8_Sites | 8 | GSO_145¦line_6170_22 | GSO_145 | hvmv_5_22 | line_6170_22 | TRUE | 10.6656 | 10.6656 | 0 | FEEDER_CONSTRAINED_UPPER_BOUND
Max_8_Sites | 8 | GSO_142¦line_5429_22 | GSO_142 | hvmv_5_22 | line_5429_22 | TRUE | 10.6074 | 10.6074 | 1e-06 | FEEDER_CONSTRAINED_UPPER_BOUND
Max_9_Sites | 9 | GSO_122¦line_5852_22 | GSO_122 | hvmv_1_22 | line_5852_22 | TRUE | 13.5096 | 13.5096 | 0 | FEEDER_CONSTRAINED_UPPER_BOUND
Max_9_Sites | 9 | GSO_124¦line_6716_22 | GSO_124 | hvmv_1_22 | line_6716_22 | TRUE | 13.4085 | 13.4085 | 0 | FEEDER_CONSTRAINED_UPPER_BOUND
Max_9_Sites | 9 | GSO_123¦line_6019_22 | GSO_123 | hvmv_1_22 | line_6019_22 | TRUE | 13.1777 | 13.1777 | 0 | FEEDER_CONSTRAINED_UPPER_BOUND
Max_9_Sites | 9 | GSO_121¦line_3530_22 | GSO_121 | hvmv_1_22 | line_3530_22 | TRUE | 13.1607 | 13.1607 | 0 | FEEDER_CONSTRAINED_UPPER_BOUND
Max_9_Sites | 9 | GSO_144¦line_5978_22 | GSO_144 | hvmv_5_22 | line_5978_22 | TRUE | 11.2671 | 11.2671 | 0 | FEEDER_CONSTRAINED_UPPER_BOUND
Max_9_Sites | 9 | GSO_141¦line_4565_22 | GSO_141 | hvmv_5_22 | line_4565_22 | TRUE | 11.02 | 11.02 | 0 | FEEDER_CONSTRAINED_UPPER_BOUND
Max_9_Sites | 9 | GSO_145¦line_6170_22 | GSO_145 | hvmv_5_22 | line_6170_22 | TRUE | 10.6656 | 10.6656 | 0 | FEEDER_CONSTRAINED_UPPER_BOUND
Max_9_Sites | 9 | GSO_142¦line_5429_22 | GSO_142 | hvmv_5_22 | line_5429_22 | TRUE | 10.6074 | 10.6074 | 0 | FEEDER_CONSTRAINED_UPPER_BOUND
Max_9_Sites | 9 | GSO_18¦line_108323_21 | GSO_18 | hvmv_4_21 | line_108323_21 | TRUE | 10.3769 | 10.3769 | 0 | FEEDER_CONSTRAINED_UPPER_BOUND
Max_10_Sites | 10 | GSO_122¦line_5852_22 | GSO_122 | hvmv_1_22 | line_5852_22 | TRUE | 13.5096 | 13.5096 | 0 | FEEDER_CONSTRAINED_UPPER_BOUND
Max_10_Sites | 10 | GSO_124¦line_6716_22 | GSO_124 | hvmv_1_22 | line_6716_22 | TRUE | 13.4085 | 13.4085 | 0 | FEEDER_CONSTRAINED_UPPER_BOUND
Max_10_Sites | 10 | GSO_123¦line_6019_22 | GSO_123 | hvmv_1_22 | line_6019_22 | TRUE | 13.1777 | 13.1777 | 0 | FEEDER_CONSTRAINED_UPPER_BOUND
Max_10_Sites | 10 | GSO_121¦line_3530_22 | GSO_121 | hvmv_1_22 | line_3530_22 | TRUE | 13.1607 | 13.1607 | 0 | FEEDER_CONSTRAINED_UPPER_BOUND
Max_10_Sites | 10 | GSO_144¦line_5978_22 | GSO_144 | hvmv_5_22 | line_5978_22 | TRUE | 11.2671 | 11.2671 | 0 | FEEDER_CONSTRAINED_UPPER_BOUND
Max_10_Sites | 10 | GSO_141¦line_4565_22 | GSO_141 | hvmv_5_22 | line_4565_22 | TRUE | 11.02 | 11.02 | 0 | FEEDER_CONSTRAINED_UPPER_BOUND
Max_10_Sites | 10 | GSO_145¦line_6170_22 | GSO_145 | hvmv_5_22 | line_6170_22 | TRUE | 10.6656 | 10.6656 | 0 | FEEDER_CONSTRAINED_UPPER_BOUND
Max_10_Sites | 10 | GSO_142¦line_5429_22 | GSO_142 | hvmv_5_22 | line_5429_22 | TRUE | 10.6074 | 10.6074 | 0 | FEEDER_CONSTRAINED_UPPER_BOUND
Max_10_Sites | 10 | GSO_18¦line_108323_21 | GSO_18 | hvmv_4_21 | line_108323_21 | TRUE | 10.3769 | 10.3769 | 0 | FEEDER_CONSTRAINED_UPPER_BOUND
Max_10_Sites | 10 | GSO_127¦line_6871_22 | GSO_127 | hvmv_2_22 | line_6871_22 | TRUE | 9.4748 | 9.4748 | 0 | FEEDER_CONSTRAINED_UPPER_BOUND

## All_Candidate_Solutions
Scenario | MaxSites | CandidateKey | GridID | SubstationID | CandidateLineID | Selected | InstalledDCMW | FirmHostingCeilingMW | UnusedFeederHostingMW | ModelStatus
Base_MaxFirmMW |  | GSO_122¦line_5852_22 | GSO_122 | hvmv_1_22 | line_5852_22 | TRUE | 13.5096 | 13.5096 | 0 | FEEDER_CONSTRAINED_UPPER_BOUND
Base_MaxFirmMW |  | GSO_124¦line_6716_22 | GSO_124 | hvmv_1_22 | line_6716_22 | TRUE | 13.4085 | 13.4085 | 0 | FEEDER_CONSTRAINED_UPPER_BOUND
Base_MaxFirmMW |  | GSO_123¦line_6019_22 | GSO_123 | hvmv_1_22 | line_6019_22 | TRUE | 13.1777 | 13.1777 | 0 | FEEDER_CONSTRAINED_UPPER_BOUND
Base_MaxFirmMW |  | GSO_121¦line_3530_22 | GSO_121 | hvmv_1_22 | line_3530_22 | TRUE | 13.1607 | 13.1607 | 0 | FEEDER_CONSTRAINED_UPPER_BOUND
Base_MaxFirmMW |  | GSO_144¦line_5978_22 | GSO_144 | hvmv_5_22 | line_5978_22 | TRUE | 11.2671 | 11.2671 | 0 | FEEDER_CONSTRAINED_UPPER_BOUND
Base_MaxFirmMW |  | GSO_141¦line_4565_22 | GSO_141 | hvmv_5_22 | line_4565_22 | TRUE | 11.02 | 11.02 | 0 | FEEDER_CONSTRAINED_UPPER_BOUND
Base_MaxFirmMW |  | GSO_145¦line_6170_22 | GSO_145 | hvmv_5_22 | line_6170_22 | TRUE | 10.6656 | 10.6656 | 0 | FEEDER_CONSTRAINED_UPPER_BOUND
Base_MaxFirmMW |  | GSO_142¦line_5429_22 | GSO_142 | hvmv_5_22 | line_5429_22 | TRUE | 10.6074 | 10.6074 | 0 | FEEDER_CONSTRAINED_UPPER_BOUND
Base_MaxFirmMW |  | GSO_18¦line_108323_21 | GSO_18 | hvmv_4_21 | line_108323_21 | TRUE | 10.3769 | 10.3769 | 0 | FEEDER_CONSTRAINED_UPPER_BOUND
Base_MaxFirmMW |  | GSO_127¦line_6871_22 | GSO_127 | hvmv_2_22 | line_6871_22 | TRUE | 9.4748 | 9.4748 | 0 | FEEDER_CONSTRAINED_UPPER_BOUND
Max_1_Sites | 1 | GSO_122¦line_5852_22 | GSO_122 | hvmv_1_22 | line_5852_22 | TRUE | 13.5096 | 13.5096 | 1e-06 | FEEDER_CONSTRAINED_UPPER_BOUND
Max_1_Sites | 1 | GSO_124¦line_6716_22 | GSO_124 | hvmv_1_22 | line_6716_22 | FALSE | 0 | 13.4085 | 13.4085 | FEEDER_CONSTRAINED_UPPER_BOUND
Max_1_Sites | 1 | GSO_123¦line_6019_22 | GSO_123 | hvmv_1_22 | line_6019_22 | FALSE | 0 | 13.1777 | 13.1777 | FEEDER_CONSTRAINED_UPPER_BOUND
Max_1_Sites | 1 | GSO_121¦line_3530_22 | GSO_121 | hvmv_1_22 | line_3530_22 | FALSE | 0 | 13.1607 | 13.1607 | FEEDER_CONSTRAINED_UPPER_BOUND
Max_1_Sites | 1 | GSO_144¦line_5978_22 | GSO_144 | hvmv_5_22 | line_5978_22 | FALSE | 0 | 11.2671 | 11.2671 | FEEDER_CONSTRAINED_UPPER_BOUND
Max_1_Sites | 1 | GSO_141¦line_4565_22 | GSO_141 | hvmv_5_22 | line_4565_22 | FALSE | 0 | 11.02 | 11.02 | FEEDER_CONSTRAINED_UPPER_BOUND
Max_1_Sites | 1 | GSO_145¦line_6170_22 | GSO_145 | hvmv_5_22 | line_6170_22 | FALSE | 0 | 10.6656 | 10.6656 | FEEDER_CONSTRAINED_UPPER_BOUND
Max_1_Sites | 1 | GSO_142¦line_5429_22 | GSO_142 | hvmv_5_22 | line_5429_22 | FALSE | 0 | 10.6074 | 10.6074 | FEEDER_CONSTRAINED_UPPER_BOUND
Max_1_Sites | 1 | GSO_18¦line_108323_21 | GSO_18 | hvmv_4_21 | line_108323_21 | FALSE | 0 | 10.3769 | 10.3769 | FEEDER_CONSTRAINED_UPPER_BOUND
Max_1_Sites | 1 | GSO_127¦line_6871_22 | GSO_127 | hvmv_2_22 | line_6871_22 | FALSE | 0 | 9.4748 | 9.4748 | FEEDER_CONSTRAINED_UPPER_BOUND
Max_2_Sites | 2 | GSO_122¦line_5852_22 | GSO_122 | hvmv_1_22 | line_5852_22 | TRUE | 13.5096 | 13.5096 | 0 | FEEDER_CONSTRAINED_UPPER_BOUND
Max_2_Sites | 2 | GSO_124¦line_6716_22 | GSO_124 | hvmv_1_22 | line_6716_22 | TRUE | 13.4085 | 13.4085 | 1e-06 | FEEDER_CONSTRAINED_UPPER_BOUND
Max_2_Sites | 2 | GSO_123¦line_6019_22 | GSO_123 | hvmv_1_22 | line_6019_22 | FALSE | 0 | 13.1777 | 13.1777 | FEEDER_CONSTRAINED_UPPER_BOUND
Max_2_Sites | 2 | GSO_121¦line_3530_22 | GSO_121 | hvmv_1_22 | line_3530_22 | FALSE | 0 | 13.1607 | 13.1607 | FEEDER_CONSTRAINED_UPPER_BOUND
Max_2_Sites | 2 | GSO_144¦line_5978_22 | GSO_144 | hvmv_5_22 | line_5978_22 | FALSE | 0 | 11.2671 | 11.2671 | FEEDER_CONSTRAINED_UPPER_BOUND
Max_2_Sites | 2 | GSO_141¦line_4565_22 | GSO_141 | hvmv_5_22 | line_4565_22 | FALSE | 0 | 11.02 | 11.02 | FEEDER_CONSTRAINED_UPPER_BOUND
Max_2_Sites | 2 | GSO_145¦line_6170_22 | GSO_145 | hvmv_5_22 | line_6170_22 | FALSE | 0 | 10.6656 | 10.6656 | FEEDER_CONSTRAINED_UPPER_BOUND
Max_2_Sites | 2 | GSO_142¦line_5429_22 | GSO_142 | hvmv_5_22 | line_5429_22 | FALSE | 0 | 10.6074 | 10.6074 | FEEDER_CONSTRAINED_UPPER_BOUND
Max_2_Sites | 2 | GSO_18¦line_108323_21 | GSO_18 | hvmv_4_21 | line_108323_21 | FALSE | 0 | 10.3769 | 10.3769 | FEEDER_CONSTRAINED_UPPER_BOUND
Max_2_Sites | 2 | GSO_127¦line_6871_22 | GSO_127 | hvmv_2_22 | line_6871_22 | FALSE | 0 | 9.4748 | 9.4748 | FEEDER_CONSTRAINED_UPPER_BOUND
Max_3_Sites | 3 | GSO_122¦line_5852_22 | GSO_122 | hvmv_1_22 | line_5852_22 | TRUE | 13.5096 | 13.5096 | 0 | FEEDER_CONSTRAINED_UPPER_BOUND
Max_3_Sites | 3 | GSO_124¦line_6716_22 | GSO_124 | hvmv_1_22 | line_6716_22 | TRUE | 13.4085 | 13.4085 | 0 | FEEDER_CONSTRAINED_UPPER_BOUND
Max_3_Sites | 3 | GSO_123¦line_6019_22 | GSO_123 | hvmv_1_22 | line_6019_22 | TRUE | 13.1777 | 13.1777 | 1e-06 | FEEDER_CONSTRAINED_UPPER_BOUND
Max_3_Sites | 3 | GSO_121¦line_3530_22 | GSO_121 | hvmv_1_22 | line_3530_22 | FALSE | 0 | 13.1607 | 13.1607 | FEEDER_CONSTRAINED_UPPER_BOUND
Max_3_Sites | 3 | GSO_144¦line_5978_22 | GSO_144 | hvmv_5_22 | line_5978_22 | FALSE | 0 | 11.2671 | 11.2671 | FEEDER_CONSTRAINED_UPPER_BOUND
Max_3_Sites | 3 | GSO_141¦line_4565_22 | GSO_141 | hvmv_5_22 | line_4565_22 | FALSE | 0 | 11.02 | 11.02 | FEEDER_CONSTRAINED_UPPER_BOUND
Max_3_Sites | 3 | GSO_145¦line_6170_22 | GSO_145 | hvmv_5_22 | line_6170_22 | FALSE | 0 | 10.6656 | 10.6656 | FEEDER_CONSTRAINED_UPPER_BOUND
Max_3_Sites | 3 | GSO_142¦line_5429_22 | GSO_142 | hvmv_5_22 | line_5429_22 | FALSE | 0 | 10.6074 | 10.6074 | FEEDER_CONSTRAINED_UPPER_BOUND
Max_3_Sites | 3 | GSO_18¦line_108323_21 | GSO_18 | hvmv_4_21 | line_108323_21 | FALSE | 0 | 10.3769 | 10.3769 | FEEDER_CONSTRAINED_UPPER_BOUND
Max_3_Sites | 3 | GSO_127¦line_6871_22 | GSO_127 | hvmv_2_22 | line_6871_22 | FALSE | 0 | 9.4748 | 9.4748 | FEEDER_CONSTRAINED_UPPER_BOUND
Max_4_Sites | 4 | GSO_122¦line_5852_22 | GSO_122 | hvmv_1_22 | line_5852_22 | TRUE | 13.5096 | 13.5096 | 0 | FEEDER_CONSTRAINED_UPPER_BOUND
Max_4_Sites | 4 | GSO_124¦line_6716_22 | GSO_124 | hvmv_1_22 | line_6716_22 | TRUE | 13.4085 | 13.4085 | 1.7764e-15 | FEEDER_CONSTRAINED_UPPER_BOUND
Max_4_Sites | 4 | GSO_123¦line_6019_22 | GSO_123 | hvmv_1_22 | line_6019_22 | TRUE | 13.1777 | 13.1777 | 0 | FEEDER_CONSTRAINED_UPPER_BOUND
Max_4_Sites | 4 | GSO_121¦line_3530_22 | GSO_121 | hvmv_1_22 | line_3530_22 | TRUE | 13.1607 | 13.1607 | 1e-06 | FEEDER_CONSTRAINED_UPPER_BOUND
Max_4_Sites | 4 | GSO_144¦line_5978_22 | GSO_144 | hvmv_5_22 | line_5978_22 | FALSE | 0 | 11.2671 | 11.2671 | FEEDER_CONSTRAINED_UPPER_BOUND
Max_4_Sites | 4 | GSO_141¦line_4565_22 | GSO_141 | hvmv_5_22 | line_4565_22 | FALSE | 0 | 11.02 | 11.02 | FEEDER_CONSTRAINED_UPPER_BOUND
Max_4_Sites | 4 | GSO_145¦line_6170_22 | GSO_145 | hvmv_5_22 | line_6170_22 | FALSE | 0 | 10.6656 | 10.6656 | FEEDER_CONSTRAINED_UPPER_BOUND
Max_4_Sites | 4 | GSO_142¦line_5429_22 | GSO_142 | hvmv_5_22 | line_5429_22 | FALSE | 0 | 10.6074 | 10.6074 | FEEDER_CONSTRAINED_UPPER_BOUND
Max_4_Sites | 4 | GSO_18¦line_108323_21 | GSO_18 | hvmv_4_21 | line_108323_21 | FALSE | 0 | 10.3769 | 10.3769 | FEEDER_CONSTRAINED_UPPER_BOUND
Max_4_Sites | 4 | GSO_127¦line_6871_22 | GSO_127 | hvmv_2_22 | line_6871_22 | FALSE | 0 | 9.4748 | 9.4748 | FEEDER_CONSTRAINED_UPPER_BOUND
Max_5_Sites | 5 | GSO_122¦line_5852_22 | GSO_122 | hvmv_1_22 | line_5852_22 | TRUE | 13.5096 | 13.5096 | 0 | FEEDER_CONSTRAINED_UPPER_BOUND
Max_5_Sites | 5 | GSO_124¦line_6716_22 | GSO_124 | hvmv_1_22 | line_6716_22 | TRUE | 13.4085 | 13.4085 | 0 | FEEDER_CONSTRAINED_UPPER_BOUND
Max_5_Sites | 5 | GSO_123¦line_6019_22 | GSO_123 | hvmv_1_22 | line_6019_22 | TRUE | 13.1777 | 13.1777 | 0 | FEEDER_CONSTRAINED_UPPER_BOUND
Max_5_Sites | 5 | GSO_121¦line_3530_22 | GSO_121 | hvmv_1_22 | line_3530_22 | TRUE | 13.1607 | 13.1607 | 0 | FEEDER_CONSTRAINED_UPPER_BOUND
Max_5_Sites | 5 | GSO_144¦line_5978_22 | GSO_144 | hvmv_5_22 | line_5978_22 | TRUE | 11.2671 | 11.2671 | 1e-06 | FEEDER_CONSTRAINED_UPPER_BOUND
Max_5_Sites | 5 | GSO_141¦line_4565_22 | GSO_141 | hvmv_5_22 | line_4565_22 | FALSE | 0 | 11.02 | 11.02 | FEEDER_CONSTRAINED_UPPER_BOUND
Max_5_Sites | 5 | GSO_145¦line_6170_22 | GSO_145 | hvmv_5_22 | line_6170_22 | FALSE | 0 | 10.6656 | 10.6656 | FEEDER_CONSTRAINED_UPPER_BOUND
Max_5_Sites | 5 | GSO_142¦line_5429_22 | GSO_142 | hvmv_5_22 | line_5429_22 | FALSE | 0 | 10.6074 | 10.6074 | FEEDER_CONSTRAINED_UPPER_BOUND
Max_5_Sites | 5 | GSO_18¦line_108323_21 | GSO_18 | hvmv_4_21 | line_108323_21 | FALSE | 0 | 10.3769 | 10.3769 | FEEDER_CONSTRAINED_UPPER_BOUND
Max_5_Sites | 5 | GSO_127¦line_6871_22 | GSO_127 | hvmv_2_22 | line_6871_22 | FALSE | 0 | 9.4748 | 9.4748 | FEEDER_CONSTRAINED_UPPER_BOUND
Max_6_Sites | 6 | GSO_122¦line_5852_22 | GSO_122 | hvmv_1_22 | line_5852_22 | TRUE | 13.5096 | 13.5096 | 3.5527e-15 | FEEDER_CONSTRAINED_UPPER_BOUND
Max_6_Sites | 6 | GSO_124¦line_6716_22 | GSO_124 | hvmv_1_22 | line_6716_22 | TRUE | 13.4085 | 13.4085 | 0 | FEEDER_CONSTRAINED_UPPER_BOUND
Max_6_Sites | 6 | GSO_123¦line_6019_22 | GSO_123 | hvmv_1_22 | line_6019_22 | TRUE | 13.1777 | 13.1777 | 0 | FEEDER_CONSTRAINED_UPPER_BOUND
Max_6_Sites | 6 | GSO_121¦line_3530_22 | GSO_121 | hvmv_1_22 | line_3530_22 | TRUE | 13.1607 | 13.1607 | 0 | FEEDER_CONSTRAINED_UPPER_BOUND
Max_6_Sites | 6 | GSO_144¦line_5978_22 | GSO_144 | hvmv_5_22 | line_5978_22 | TRUE | 11.2671 | 11.2671 | -1.7764e-15 | FEEDER_CONSTRAINED_UPPER_BOUND
Max_6_Sites | 6 | GSO_141¦line_4565_22 | GSO_141 | hvmv_5_22 | line_4565_22 | TRUE | 11.02 | 11.02 | 1e-06 | FEEDER_CONSTRAINED_UPPER_BOUND
Max_6_Sites | 6 | GSO_145¦line_6170_22 | GSO_145 | hvmv_5_22 | line_6170_22 | FALSE | 0 | 10.6656 | 10.6656 | FEEDER_CONSTRAINED_UPPER_BOUND
Max_6_Sites | 6 | GSO_142¦line_5429_22 | GSO_142 | hvmv_5_22 | line_5429_22 | FALSE | 0 | 10.6074 | 10.6074 | FEEDER_CONSTRAINED_UPPER_BOUND
Max_6_Sites | 6 | GSO_18¦line_108323_21 | GSO_18 | hvmv_4_21 | line_108323_21 | FALSE | 0 | 10.3769 | 10.3769 | FEEDER_CONSTRAINED_UPPER_BOUND
Max_6_Sites | 6 | GSO_127¦line_6871_22 | GSO_127 | hvmv_2_22 | line_6871_22 | FALSE | 0 | 9.4748 | 9.4748 | FEEDER_CONSTRAINED_UPPER_BOUND
Max_7_Sites | 7 | GSO_122¦line_5852_22 | GSO_122 | hvmv_1_22 | line_5852_22 | TRUE | 13.5096 | 13.5096 | 0 | FEEDER_CONSTRAINED_UPPER_BOUND
Max_7_Sites | 7 | GSO_124¦line_6716_22 | GSO_124 | hvmv_1_22 | line_6716_22 | TRUE | 13.4085 | 13.4085 | 0 | FEEDER_CONSTRAINED_UPPER_BOUND
Max_7_Sites | 7 | GSO_123¦line_6019_22 | GSO_123 | hvmv_1_22 | line_6019_22 | TRUE | 13.1777 | 13.1777 | 0 | FEEDER_CONSTRAINED_UPPER_BOUND
Max_7_Sites | 7 | GSO_121¦line_3530_22 | GSO_121 | hvmv_1_22 | line_3530_22 | TRUE | 13.1607 | 13.1607 | 0 | FEEDER_CONSTRAINED_UPPER_BOUND
Max_7_Sites | 7 | GSO_144¦line_5978_22 | GSO_144 | hvmv_5_22 | line_5978_22 | TRUE | 11.2671 | 11.2671 | 1.7764e-15 | FEEDER_CONSTRAINED_UPPER_BOUND
Max_7_Sites | 7 | GSO_141¦line_4565_22 | GSO_141 | hvmv_5_22 | line_4565_22 | TRUE | 11.02 | 11.02 | 0 | FEEDER_CONSTRAINED_UPPER_BOUND
Max_7_Sites | 7 | GSO_145¦line_6170_22 | GSO_145 | hvmv_5_22 | line_6170_22 | TRUE | 10.6656 | 10.6656 | 1e-06 | FEEDER_CONSTRAINED_UPPER_BOUND
Max_7_Sites | 7 | GSO_142¦line_5429_22 | GSO_142 | hvmv_5_22 | line_5429_22 | FALSE | 0 | 10.6074 | 10.6074 | FEEDER_CONSTRAINED_UPPER_BOUND
Max_7_Sites | 7 | GSO_18¦line_108323_21 | GSO_18 | hvmv_4_21 | line_108323_21 | FALSE | 0 | 10.3769 | 10.3769 | FEEDER_CONSTRAINED_UPPER_BOUND
Max_7_Sites | 7 | GSO_127¦line_6871_22 | GSO_127 | hvmv_2_22 | line_6871_22 | FALSE | 0 | 9.4748 | 9.4748 | FEEDER_CONSTRAINED_UPPER_BOUND
Max_8_Sites | 8 | GSO_122¦line_5852_22 | GSO_122 | hvmv_1_22 | line_5852_22 | TRUE | 13.5096 | 13.5096 | 0 | FEEDER_CONSTRAINED_UPPER_BOUND
Max_8_Sites | 8 | GSO_124¦line_6716_22 | GSO_124 | hvmv_1_22 | line_6716_22 | TRUE | 13.4085 | 13.4085 | 0 | FEEDER_CONSTRAINED_UPPER_BOUND
Max_8_Sites | 8 | GSO_123¦line_6019_22 | GSO_123 | hvmv_1_22 | line_6019_22 | TRUE | 13.1777 | 13.1777 | 0 | FEEDER_CONSTRAINED_UPPER_BOUND
Max_8_Sites | 8 | GSO_121¦line_3530_22 | GSO_121 | hvmv_1_22 | line_3530_22 | TRUE | 13.1607 | 13.1607 | 0 | FEEDER_CONSTRAINED_UPPER_BOUND
Max_8_Sites | 8 | GSO_144¦line_5978_22 | GSO_144 | hvmv_5_22 | line_5978_22 | TRUE | 11.2671 | 11.2671 | 0 | FEEDER_CONSTRAINED_UPPER_BOUND
Max_8_Sites | 8 | GSO_141¦line_4565_22 | GSO_141 | hvmv_5_22 | line_4565_22 | TRUE | 11.02 | 11.02 | 0 | FEEDER_CONSTRAINED_UPPER_BOUND
Max_8_Sites | 8 | GSO_145¦line_6170_22 | GSO_145 | hvmv_5_22 | line_6170_22 | TRUE | 10.6656 | 10.6656 | 0 | FEEDER_CONSTRAINED_UPPER_BOUND
Max_8_Sites | 8 | GSO_142¦line_5429_22 | GSO_142 | hvmv_5_22 | line_5429_22 | TRUE | 10.6074 | 10.6074 | 1e-06 | FEEDER_CONSTRAINED_UPPER_BOUND
Max_8_Sites | 8 | GSO_18¦line_108323_21 | GSO_18 | hvmv_4_21 | line_108323_21 | FALSE | 0 | 10.3769 | 10.3769 | FEEDER_CONSTRAINED_UPPER_BOUND
Max_8_Sites | 8 | GSO_127¦line_6871_22 | GSO_127 | hvmv_2_22 | line_6871_22 | FALSE | 0 | 9.4748 | 9.4748 | FEEDER_CONSTRAINED_UPPER_BOUND
Max_9_Sites | 9 | GSO_122¦line_5852_22 | GSO_122 | hvmv_1_22 | line_5852_22 | TRUE | 13.5096 | 13.5096 | 0 | FEEDER_CONSTRAINED_UPPER_BOUND
Max_9_Sites | 9 | GSO_124¦line_6716_22 | GSO_124 | hvmv_1_22 | line_6716_22 | TRUE | 13.4085 | 13.4085 | 0 | FEEDER_CONSTRAINED_UPPER_BOUND
Max_9_Sites | 9 | GSO_123¦line_6019_22 | GSO_123 | hvmv_1_22 | line_6019_22 | TRUE | 13.1777 | 13.1777 | 0 | FEEDER_CONSTRAINED_UPPER_BOUND
Max_9_Sites | 9 | GSO_121¦line_3530_22 | GSO_121 | hvmv_1_22 | line_3530_22 | TRUE | 13.1607 | 13.1607 | 0 | FEEDER_CONSTRAINED_UPPER_BOUND
Max_9_Sites | 9 | GSO_144¦line_5978_22 | GSO_144 | hvmv_5_22 | line_5978_22 | TRUE | 11.2671 | 11.2671 | 0 | FEEDER_CONSTRAINED_UPPER_BOUND
Max_9_Sites | 9 | GSO_141¦line_4565_22 | GSO_141 | hvmv_5_22 | line_4565_22 | TRUE | 11.02 | 11.02 | 0 | FEEDER_CONSTRAINED_UPPER_BOUND
Max_9_Sites | 9 | GSO_145¦line_6170_22 | GSO_145 | hvmv_5_22 | line_6170_22 | TRUE | 10.6656 | 10.6656 | 0 | FEEDER_CONSTRAINED_UPPER_BOUND
Max_9_Sites | 9 | GSO_142¦line_5429_22 | GSO_142 | hvmv_5_22 | line_5429_22 | TRUE | 10.6074 | 10.6074 | 0 | FEEDER_CONSTRAINED_UPPER_BOUND
Max_9_Sites | 9 | GSO_18¦line_108323_21 | GSO_18 | hvmv_4_21 | line_108323_21 | TRUE | 10.3769 | 10.3769 | 0 | FEEDER_CONSTRAINED_UPPER_BOUND
Max_9_Sites | 9 | GSO_127¦line_6871_22 | GSO_127 | hvmv_2_22 | line_6871_22 | FALSE | 0 | 9.4748 | 9.4748 | FEEDER_CONSTRAINED_UPPER_BOUND
Max_10_Sites | 10 | GSO_122¦line_5852_22 | GSO_122 | hvmv_1_22 | line_5852_22 | TRUE | 13.5096 | 13.5096 | 0 | FEEDER_CONSTRAINED_UPPER_BOUND
Max_10_Sites | 10 | GSO_124¦line_6716_22 | GSO_124 | hvmv_1_22 | line_6716_22 | TRUE | 13.4085 | 13.4085 | 0 | FEEDER_CONSTRAINED_UPPER_BOUND
Max_10_Sites | 10 | GSO_123¦line_6019_22 | GSO_123 | hvmv_1_22 | line_6019_22 | TRUE | 13.1777 | 13.1777 | 0 | FEEDER_CONSTRAINED_UPPER_BOUND
Max_10_Sites | 10 | GSO_121¦line_3530_22 | GSO_121 | hvmv_1_22 | line_3530_22 | TRUE | 13.1607 | 13.1607 | 0 | FEEDER_CONSTRAINED_UPPER_BOUND
Max_10_Sites | 10 | GSO_144¦line_5978_22 | GSO_144 | hvmv_5_22 | line_5978_22 | TRUE | 11.2671 | 11.2671 | 0 | FEEDER_CONSTRAINED_UPPER_BOUND
Max_10_Sites | 10 | GSO_141¦line_4565_22 | GSO_141 | hvmv_5_22 | line_4565_22 | TRUE | 11.02 | 11.02 | 0 | FEEDER_CONSTRAINED_UPPER_BOUND
Max_10_Sites | 10 | GSO_145¦line_6170_22 | GSO_145 | hvmv_5_22 | line_6170_22 | TRUE | 10.6656 | 10.6656 | 0 | FEEDER_CONSTRAINED_UPPER_BOUND
Max_10_Sites | 10 | GSO_142¦line_5429_22 | GSO_142 | hvmv_5_22 | line_5429_22 | TRUE | 10.6074 | 10.6074 | 0 | FEEDER_CONSTRAINED_UPPER_BOUND
Max_10_Sites | 10 | GSO_18¦line_108323_21 | GSO_18 | hvmv_4_21 | line_108323_21 | TRUE | 10.3769 | 10.3769 | 0 | FEEDER_CONSTRAINED_UPPER_BOUND
Max_10_Sites | 10 | GSO_127¦line_6871_22 | GSO_127 | hvmv_2_22 | line_6871_22 | TRUE | 9.4748 | 9.4748 | 0 | FEEDER_CONSTRAINED_UPPER_BOUND

## Substation_Usage
Scenario | MaxSites | SubstationID | InstalledDCMW | AppliedAdditionalHeadroomMW | RemainingSubstationHeadroomMW | AddedHeadroomUtilizationPct | CapacityResolved | CapacityMethod | CapacitySource | ModelStatus
Base_MaxFirmMW |  | hvmv_1_22 | 53.2566 |  |  |  | FALSE | Unresolved | Review | FEEDER_CONSTRAINED_UPPER_BOUND
Base_MaxFirmMW |  | hvmv_2_22 | 9.4748 |  |  |  | FALSE | Unresolved | Review | FEEDER_CONSTRAINED_UPPER_BOUND
Base_MaxFirmMW |  | hvmv_4_21 | 10.3769 |  |  |  | FALSE | Unresolved | Review | FEEDER_CONSTRAINED_UPPER_BOUND
Base_MaxFirmMW |  | hvmv_5_22 | 43.5602 |  |  |  | FALSE | Unresolved | Review | FEEDER_CONSTRAINED_UPPER_BOUND
Max_1_Sites | 1 | hvmv_1_22 | 13.5096 |  |  |  | FALSE | Unresolved | Review | FEEDER_CONSTRAINED_UPPER_BOUND
Max_1_Sites | 1 | hvmv_2_22 | 0 |  |  |  | FALSE | Unresolved | Review | FEEDER_CONSTRAINED_UPPER_BOUND
Max_1_Sites | 1 | hvmv_4_21 | 0 |  |  |  | FALSE | Unresolved | Review | FEEDER_CONSTRAINED_UPPER_BOUND
Max_1_Sites | 1 | hvmv_5_22 | 0 |  |  |  | FALSE | Unresolved | Review | FEEDER_CONSTRAINED_UPPER_BOUND
Max_2_Sites | 2 | hvmv_1_22 | 26.9181 |  |  |  | FALSE | Unresolved | Review | FEEDER_CONSTRAINED_UPPER_BOUND
Max_2_Sites | 2 | hvmv_2_22 | 0 |  |  |  | FALSE | Unresolved | Review | FEEDER_CONSTRAINED_UPPER_BOUND
Max_2_Sites | 2 | hvmv_4_21 | 0 |  |  |  | FALSE | Unresolved | Review | FEEDER_CONSTRAINED_UPPER_BOUND
Max_2_Sites | 2 | hvmv_5_22 | 0 |  |  |  | FALSE | Unresolved | Review | FEEDER_CONSTRAINED_UPPER_BOUND
Max_3_Sites | 3 | hvmv_1_22 | 40.0958 |  |  |  | FALSE | Unresolved | Review | FEEDER_CONSTRAINED_UPPER_BOUND
Max_3_Sites | 3 | hvmv_2_22 | 0 |  |  |  | FALSE | Unresolved | Review | FEEDER_CONSTRAINED_UPPER_BOUND
Max_3_Sites | 3 | hvmv_4_21 | 0 |  |  |  | FALSE | Unresolved | Review | FEEDER_CONSTRAINED_UPPER_BOUND
Max_3_Sites | 3 | hvmv_5_22 | 0 |  |  |  | FALSE | Unresolved | Review | FEEDER_CONSTRAINED_UPPER_BOUND
Max_4_Sites | 4 | hvmv_1_22 | 53.2566 |  |  |  | FALSE | Unresolved | Review | FEEDER_CONSTRAINED_UPPER_BOUND
Max_4_Sites | 4 | hvmv_2_22 | 0 |  |  |  | FALSE | Unresolved | Review | FEEDER_CONSTRAINED_UPPER_BOUND
Max_4_Sites | 4 | hvmv_4_21 | 0 |  |  |  | FALSE | Unresolved | Review | FEEDER_CONSTRAINED_UPPER_BOUND
Max_4_Sites | 4 | hvmv_5_22 | 0 |  |  |  | FALSE | Unresolved | Review | FEEDER_CONSTRAINED_UPPER_BOUND
Max_5_Sites | 5 | hvmv_1_22 | 53.2566 |  |  |  | FALSE | Unresolved | Review | FEEDER_CONSTRAINED_UPPER_BOUND
Max_5_Sites | 5 | hvmv_2_22 | 0 |  |  |  | FALSE | Unresolved | Review | FEEDER_CONSTRAINED_UPPER_BOUND
Max_5_Sites | 5 | hvmv_4_21 | 0 |  |  |  | FALSE | Unresolved | Review | FEEDER_CONSTRAINED_UPPER_BOUND
Max_5_Sites | 5 | hvmv_5_22 | 11.2671 |  |  |  | FALSE | Unresolved | Review | FEEDER_CONSTRAINED_UPPER_BOUND
Max_6_Sites | 6 | hvmv_1_22 | 53.2566 |  |  |  | FALSE | Unresolved | Review | FEEDER_CONSTRAINED_UPPER_BOUND
Max_6_Sites | 6 | hvmv_2_22 | 0 |  |  |  | FALSE | Unresolved | Review | FEEDER_CONSTRAINED_UPPER_BOUND
Max_6_Sites | 6 | hvmv_4_21 | 0 |  |  |  | FALSE | Unresolved | Review | FEEDER_CONSTRAINED_UPPER_BOUND
Max_6_Sites | 6 | hvmv_5_22 | 22.2872 |  |  |  | FALSE | Unresolved | Review | FEEDER_CONSTRAINED_UPPER_BOUND
Max_7_Sites | 7 | hvmv_1_22 | 53.2566 |  |  |  | FALSE | Unresolved | Review | FEEDER_CONSTRAINED_UPPER_BOUND
Max_7_Sites | 7 | hvmv_2_22 | 0 |  |  |  | FALSE | Unresolved | Review | FEEDER_CONSTRAINED_UPPER_BOUND
Max_7_Sites | 7 | hvmv_4_21 | 0 |  |  |  | FALSE | Unresolved | Review | FEEDER_CONSTRAINED_UPPER_BOUND
Max_7_Sites | 7 | hvmv_5_22 | 32.9528 |  |  |  | FALSE | Unresolved | Review | FEEDER_CONSTRAINED_UPPER_BOUND
Max_8_Sites | 8 | hvmv_1_22 | 53.2566 |  |  |  | FALSE | Unresolved | Review | FEEDER_CONSTRAINED_UPPER_BOUND
Max_8_Sites | 8 | hvmv_2_22 | 0 |  |  |  | FALSE | Unresolved | Review | FEEDER_CONSTRAINED_UPPER_BOUND
Max_8_Sites | 8 | hvmv_4_21 | 0 |  |  |  | FALSE | Unresolved | Review | FEEDER_CONSTRAINED_UPPER_BOUND
Max_8_Sites | 8 | hvmv_5_22 | 43.5602 |  |  |  | FALSE | Unresolved | Review | FEEDER_CONSTRAINED_UPPER_BOUND
Max_9_Sites | 9 | hvmv_1_22 | 53.2566 |  |  |  | FALSE | Unresolved | Review | FEEDER_CONSTRAINED_UPPER_BOUND
Max_9_Sites | 9 | hvmv_2_22 | 0 |  |  |  | FALSE | Unresolved | Review | FEEDER_CONSTRAINED_UPPER_BOUND
Max_9_Sites | 9 | hvmv_4_21 | 10.3769 |  |  |  | FALSE | Unresolved | Review | FEEDER_CONSTRAINED_UPPER_BOUND
Max_9_Sites | 9 | hvmv_5_22 | 43.5602 |  |  |  | FALSE | Unresolved | Review | FEEDER_CONSTRAINED_UPPER_BOUND
Max_10_Sites | 10 | hvmv_1_22 | 53.2566 |  |  |  | FALSE | Unresolved | Review | FEEDER_CONSTRAINED_UPPER_BOUND
Max_10_Sites | 10 | hvmv_2_22 | 9.4748 |  |  |  | FALSE | Unresolved | Review | FEEDER_CONSTRAINED_UPPER_BOUND
Max_10_Sites | 10 | hvmv_4_21 | 10.3769 |  |  |  | FALSE | Unresolved | Review | FEEDER_CONSTRAINED_UPPER_BOUND
Max_10_Sites | 10 | hvmv_5_22 | 43.5602 |  |  |  | FALSE | Unresolved | Review | FEEDER_CONSTRAINED_UPPER_BOUND

## Candidate_Inputs
CandidateKey | GridID | SubstationID | CandidateLineID | FirmHostingMW | FirmHostingAtMinimumPFMW | FirmHostingAtBasePFMW | FirmHostingAtMaximumPFMW | ReadyForFeederBoundMILP | TopologyResolution | MappingMaterialityStatus | NoBaselineCandidatePathExceedance
GSO_122¦line_5852_22 | GSO_122 | hvmv_1_22 | line_5852_22 | 13.5096 | 12.7969 | 13.5096 | 14.2224 | TRUE | CLEAR_RADIAL | CLEAR_NO_UNRESOLVED_METERS | TRUE
GSO_124¦line_6716_22 | GSO_124 | hvmv_1_22 | line_6716_22 | 13.4085 | 12.6957 | 13.4085 | 14.1213 | TRUE | CLEAR_RADIAL | CLEAR_NO_UNRESOLVED_METERS | TRUE
GSO_123¦line_6019_22 | GSO_123 | hvmv_1_22 | line_6019_22 | 13.1777 | 12.465 | 13.1777 | 13.8905 | TRUE | CLEAR_RADIAL | CLEAR_NO_UNRESOLVED_METERS | TRUE
GSO_121¦line_3530_22 | GSO_121 | hvmv_1_22 | line_3530_22 | 13.1607 | 12.448 | 13.1607 | 13.8735 | TRUE | CLEAR_CYCLES_OFF_CANDIDATE_PATH | CLEAR_NO_UNRESOLVED_METERS | TRUE
GSO_144¦line_5978_22 | GSO_144 | hvmv_5_22 | line_5978_22 | 11.2671 | 10.6671 | 11.2671 | 11.8671 | TRUE | CLEAR_RADIAL | CLEAR_NO_UNRESOLVED_METERS | TRUE
GSO_141¦line_4565_22 | GSO_141 | hvmv_5_22 | line_4565_22 | 11.02 | 10.42 | 11.02 | 11.62 | TRUE | CLEAR_RADIAL | CLEAR_NO_UNRESOLVED_METERS | TRUE
GSO_145¦line_6170_22 | GSO_145 | hvmv_5_22 | line_6170_22 | 10.6656 | 10.0656 | 10.6656 | 11.2656 | TRUE | CLEAR_CYCLES_OFF_CANDIDATE_PATH | CLEAR_FOR_CURRENT_CANDIDATE_USING_MODELED_5MIN_UNRESOLVED_SHARE | TRUE
GSO_142¦line_5429_22 | GSO_142 | hvmv_5_22 | line_5429_22 | 10.6074 | 10.0074 | 10.6074 | 11.2074 | TRUE | CLEAR_CYCLES_OFF_CANDIDATE_PATH | CLEAR_NO_UNRESOLVED_METERS | TRUE
GSO_18¦line_108323_21 | GSO_18 | hvmv_4_21 | line_108323_21 | 10.3769 | 9.7102 | 10.3769 | 11.0436 | TRUE | CLEAR_CYCLES_OFF_CANDIDATE_PATH | CLEAR_NO_UNRESOLVED_METERS | TRUE
GSO_127¦line_6871_22 | GSO_127 | hvmv_2_22 | line_6871_22 | 9.4748 | 8.9748 | 9.4748 | 9.9748 | TRUE | CLEAR_RADIAL | CLEAR_NO_UNRESOLVED_METERS | TRUE

## Substation_Capacities
SubstationID | TotalCapacityMW | ExistingCoincidentPeakMW | AvailableAdditionalCapacityMW_Input | AppliedAdditionalHeadroomMW | CapacityResolved | CapacityMethod | CapacitySource | Notes
hvmv_1_22 |  |  |  |  | FALSE | Unresolved | Review | Populate either AvailableAdditionalCapacityMW directly, or TotalCapacityMW and ExistingCoincidentPeakMW.
hvmv_2_22 |  |  |  |  | FALSE | Unresolved | Review | Populate either AvailableAdditionalCapacityMW directly, or TotalCapacityMW and ExistingCoincidentPeakMW.
hvmv_4_21 |  |  |  |  | FALSE | Unresolved | Review | Populate either AvailableAdditionalCapacityMW directly, or TotalCapacityMW and ExistingCoincidentPeakMW.
hvmv_5_22 |  |  |  |  | FALSE | Unresolved | Review | Populate either AvailableAdditionalCapacityMW directly, or TotalCapacityMW and ExistingCoincidentPeakMW.

## Assumptions
Item | Value
Optimization purpose | Maximize firm centralized data-center MW across thermally validated candidate sites.
Candidate capacity basis | FirmHostingMW
Site decision | Binary x_j selects candidate j; continuous p_j is installed data-center MW.
Site thermal constraint | 0 <= p_j <= FirmHostingMW_j * x_j.
Feeder duplication rule | At most one selected candidate per feeder = True.
Minimum selected site MW | 0
Maximum selected site MW | No additional cap beyond thermal hosting.
Substation constraint | For resolved substations, sum of installed candidate MW behind the substation cannot exceed AppliedAdditionalHeadroomMW.
Substation capacity factor | 1
Missing substation capacity policy | ALLOW_AS_UPPER_BOUND
Missing substation interpretation | If allowed, candidates behind unresolved substations remain in the model and the result is explicitly labeled an upper bound rather than final portfolio capacity.
Objective | Primary: maximize total installed MW. Secondary: among MW-optimal solutions, minimize selected site count.
Site-count frontier | Enabled = True. Solves maximum firm MW with 1 through N available sites.
Power factor | FirmHostingMW comes from the validated PF 0.95 thermal model; PF 0.90/1.00 remain sensitivity cases, not the base MILP constraint.
Voltage/substation limitations | MILP does not create missing voltage or substation physics. It only optimizes over validated thermal candidate ceilings plus any explicit substation headroom supplied.
Solver | appsi_highs
Candidate count | 10
Substation count | 4
Resolved substation capacities | 0